|  | (For official use only) |
| --- | --- |
| File Reference Number: |  |
| Application Number: |  |
| Date Received: |  |

Basic assessment report in terms of the Environmental Impact Assessment Regulations, 2014, promulgated in terms of the National Environmental Management Act, 1998 (Act No. 107 of 1998), as amended.

Kindly note that:

- This basic assessment report is a standard report that may be required by a competent authority in terms of the EIA Regulations, 2014 and is meant to streamline applications.  Please make sure that it is the report used by the particular competent authority for the activity that is being applied for.

- This report format is current as of 08 December 2014. It is the responsibility of the applicant to ascertain whether subsequent versions of the form have been published or produced by the competent authority

- The report must be typed within the spaces provided in the form.  The size of the spaces provided is not necessarily indicative of the amount of information to be provided.  The report is in the form of a table that can extend itself as each space is filled with typing.

- Where applicable tick the boxes that are applicable in the report.

- An incomplete report may be returned to the applicant for revision.

- The use of “not applicable” in the report must be done with circumspection because if it is used in respect of material information that is required by the competent authority for assessing the application, it may result in the rejection of the application as provided for in the regulations.

- This report must be handed in at offices of the relevant competent authority as determined by each authority.

- No faxed or e-mailed reports will be accepted.

- The signature of the EAP on the report must be an original signature.

- The report must be compiled by an independent environmental assessment practitioner.

- Unless protected by law, all information in the report will become public information on receipt by the competent authority.  Any interested and affected party should be provided with the information contained in this report on request, during any stage of the application process.

- A competent authority may require that for specified types of activities in defined situations only parts of this report need to be completed.

- Should a specialist report or report on a specialised process be submitted at any stage for any part of this application, the terms of reference for such report must also be submitted.

- Two (2) colour hard copies and one (1) electronic copy of the report must be submitted to the competent authority.

- Shape files (.shp) for maps must be included in the electronic copy of the report submitted to the competent authority.

Section A: Activity information

| Has a specialist been consulted to assist with the completion of this section? | YES √ | NO |
| --- | --- | --- |
| If YES, please complete the form entitled “Details of specialist and declaration of interest” for the specialist appointed and attach in Appendix I. |

- Project DESCRIPTION

a)	Describe the project associated with the listed activities applied for

Introduction The proposed development entails the construction and operation of a 3.5 Megawatt Photovoltaic Solar Power Plant Facility. The development will cover approximately 6 hectares and is located on Portion 1 of the Farm Kameelkop 17-JS, Groblersdal, Limpopo Province. The array will be fully enclosed with a 1.8 meter high 18 strand electrified fence, with 5 meter wide access gate in the northern corner. Renen Renewable Energy Solutions is the company which will design, construct and commission the 3.5 MW PV System, currently planned to be done in 4 stages: 1 x 500 kW and 3 x 1 MW systems. The high level design encompasses the complete 3.5 MW ground mounted PV system on the designated area of 6 ha of the farm. 1.1 Need and desirability for the proposed development Due to load shedding and the threat of national power outages which affects the operation and the sustainability of the farming operations, Schoonbee Landgoed has decided to investigate the option of developing a 3.5 MW PV Solar Power Plant on their property in order to supply electricity for the farms operations. While the proposed development will use approximately 6 hectares of agricultural land, it is anticipated that the renewable source of energy will offset the loss of the agricultural land. The PV System High level system design Appendix C depicts the diagram of the high level design for the 3.5 MW PV system for the Schoonbee Landgoed. This layout shows the complete area and connection point for the planned 3.5 MW PV system. Please refer to the descriptions within the diagram detailing high level design specification of the PV system, the transformers, conduits for the cable connections, as well as the Eskom connection point. Figure 1 below shows the schematic diagram of a typical module layout cross section. Final detail design and as-built measurements may deviate from the schematic below. The table design will be a fixed structure, 4 modules high with landscape module orientation. The lowest point will be 0.5 m above ground. Figure 1: Schematic diagram of a typical module layout cross cut 3.5 MW PV System & connection On request of Schoonbee via Sonfin, the PV system will be completely ground mounted, oriented at the optimum tilt and azimuth. Local knowledge of the ground conditions will be applied to ensure the structural optimum mounting and ground fixing (foundation) alternative. System design / earth works / construction laydown footprint As the construction of the PV system will be above ground only, and following the existing contours of the land, it will be non-intrusive. No cut and fill will be required, only very minor earth works for the transformer area and control room concrete foundations. The non-intrusive and phased nature of constructing a PV plant means that the area permanently fenced in for the PV plant suffices as a construction laydown. During final construction phases currently open areas inside the fencing may be used for equipment storage and site accommodation. Additional storm water infrastructure is not required as the current low sloping area without any storm water infrastructure will not be disturbed. The PV system design itself allows for low growing shade plants (ground covers) to be planted below the module tables. Detail PV system technology / technical specifications High quality solar equipment (poly- / monocrystalline modules, string inverters, aluminium / stainless steel / galvanised steel mounting structure; UV resistant cabling where exposed to sunlight) is specified to extend the longevity of the plant. The nominal power rating of the sum of the panels will be 3.5 MW, with the inverters nominal input power at about 100% thereof. Inverters will be IP65 and therefore suitable for installation to the mounting structure in the shade of the PV modules. For the initial design, the least intrusive foundation of helical anchors is chosen as foundation. Site remediation at the end of the system life cycle leaves only a few holes in the ground where the PV system was mounted. The option with concrete foundations for the module mounting structure is more expensive, more intrusive, and very cumbersome to remove during site remediation. The step-up transformer from 380 V to 11 kV for the system will be placed in the middle of the PV system as indicated, to minimize distances for DC (direct current) flow, and have medium voltage for the longer AC (alternating current) lines to the connection points. This will be placed as per standard transformer installations on a concrete slab as specified. AC cables will be placed in suitable conduit throughout up to the Eskom connection point as indicated on the diagram. A new control room for the Eskom connection is planned to be built just west of the planned connection to the Eskom pole as indicated on the diagram. At this design stage it is not envisaged that a completely new substation is required to be built. Project programme Phase 1 will consist of a 500 kW ground mounted PV system within the parameters of the specified area. The fencing, security installations and area preparation will be done for the complete plant during this phase. The transformer/s, conduits, cables, switches and connections, as well as the control room will also be built to accommodate the remaining 3 MW. The duration of phase 1 will be an estimated 6 to 9 months of construction, provided all authorisations for building and connections are in place. This excludes the time Eskom may require to commission and sign-off the system from their side. Phases 2 to 4 will each comprise of 1 MW system expansion. The duration per phase will also be about 6 to 9 months each from site set-up, again excluding the time Eskom requires, and depends on Schoonbee giving the go-ahead to proceed. All permanent infrastructure planned for the PV system is show on the diagram in Appendix C. Temporary, non-intrusive site offices during construction will be set-up within the perimeters of the permanent fence, and removed after the construction and system monitoring period.

b)	Provide a detailed description of the listed activities associated with the project as applied for

| Listed activity as described in GNR 983, 984 and 985 | Description of project activity |
| --- | --- |
| GNR. 983 Item 1 (ii): The development of facilities or infrastructure for the generation of electricity from a renewable resource where – The output is 10 megawatts or less but the total extent of the facility covers an area in excess of 1 hectare; Excluding where such development of facilities or infrastructure is for the photovoltaic installations and occurs within an urban area. | The proposed development entails a 3.5 Megawatt Photovoltaic Solar Power Plant with a footprint size of approximately 6 hectares in a rural, agricultural area. |
| GN No. 983 Item 12: The development of - infrastructure or structures covering 100 square meters or more where such development occurs - if no development setback exists, within 32 meters of a watercourse, measured from the edge of a watercourse | The proposed development will take place within 32 meters of an artificial temporary wetland drainage line, located to the North of the site boundary. A buffer of at least 5 meters from the watercourse will however be maintained. Please see preferred design drawing depicting the 5m buffer area. |
| GNR 983 Item 28 (ii): Residential, mixed, retail, commercial, industrial or institutional developments where such land was used for agriculture or afforestation on or after 01 April 1998 and where such development: will occur outside an urban area, where the total land to be developed is bigger than 1 hectare; excluding where such land has already been developed for residential, mixed, retail, commercial, industrial, or institutional purposes. | The proposed development is located on land used for agriculture on or after 01 April 1998 and will occur outside an urban area and the total land to be developed will be approximately 6 hectares. |

- FEASIBLE AND REASONABLE ALTERNATIVES

“alternatives”, in relation to a proposed activity, means different means of meeting the general purpose and requirements of the activity, which may include alternatives to—

(a)	the property on which or location where it is proposed to undertake the activity;

(b)	the type of activity to be undertaken;

(c)	the design or layout of the activity;

(d)	the technology to be used in the activity;

(e)	the operational aspects of the activity; and

(f)	the option of not implementing the activity.

Describe alternatives that are considered in this application as required by Appendix 1 (3)(h), Regulation 2014. Alternatives should include a consideration of all possible means by which the purpose and need of the proposed activity (NOT PROJECT) could be accomplished in the specific instance taking account of the interest of the applicant in the activity.  The no-go alternative must in all cases be included in the assessment phase as the baseline against which the impacts of the other alternatives are assessed.

The determination of whether site or activity (including different processes, etc.) or both is appropriate needs to be informed by the specific circumstances of the activity and its environment.  After receipt of this report the, competent authority may also request the applicant to assess additional alternatives that could possibly accomplish the purpose and need of the proposed activity if it is clear that realistic alternatives have not been considered to a reasonable extent.

The identification of alternatives should be in line with the Integrated Environmental Assessment Guideline Series 11, published by the DEA in 2004.  Should the alternatives include different locations and lay-outs, the co-ordinates of the different alternatives must be provided.  The co-ordinates should be in degrees, minutes and seconds.  The projection that must be used in all cases is the WGS84 spheroid in a national or local projection.

a)	Site alternatives

| A site alternative was investigated at the project screening phase, however, was ruled out due to a number of factors. The alternative site is located on the same property, but has been preserved as one of the conservation areas on the farm and natural indigenous vegetation grows on this site. The alternative site was considered to be a less favourable option and will therefore not be evaluated further in this report. The following factors were considered: The fact that the site is more ecologically sensitive (due to the indigenous vegetation growing on the alternative site) than the preferred site. The alternative site is not located close to an Eskom connection point and would have require a longer overhead power line, thereby increasing the areas to be disturbed and the associated environmental impacts. The alternative site is close to the N11, and therefor would have a greater visual impact on the surrounding area and communities. Due to the longer distance from the main farm buildings and closer proximity to the N11, this site would pose a higher security risk. | S25° 3′ 21.82″ | E29° 23′ 47.19″ |
| --- | --- | --- |

THIS REPORT WILL THEREFOR EVALUATE TWO LAYOUT DESIGN ALTERNATIVES.

| Alternative 1 (preferred alternative) |
| --- |
| Description | Lat (DDMMSS) | Long (DDMMSS) |
| The preferred site consists of agricultural land and the area has been largely disturbed and altered (refer to the specialist reports) as a result crop cultivation. The site is completely modified with small pockets of degraded grassland dominated by exotic weeds and pioneer grass species observed and is classified into an area that has “no natural habitat remaining”. The cultivated land has a zero sensitivity, the degraded grassland areas adjacent to the cultivated land have a low sensitivity and the artificial stormwater canals represent degraded areas with a medium – low sensitivity. The soil potential report compiled by a specialist (see attached specialist reports), states that the site has a high potential soil for agriculture under irrigation, but that the solar farm can be considered as an offset to the loss of the 6 hectares of soil currently used for irrigated crop production as the solar plant will improve the economic viability of crop production of the Schoonbee Farm. An existing dirt road provide ready access to the site and an artificial temporary wetland which has formed as a result of stormwater canals carrying baseflow borders the north and east of the site, these will, however, not be affected by the proposed development as the facility design and underground cable took it into consideration. The power cable will be installed underground and will be placed in a suitable conduit throughout, towards the existing Eskom connection point to the north-east of the site. At the point where the conduit crosses the irrigation canal, east of the site, the conduit will be above ground (see design for detail). | 29° 23′ 47.25″ | 25° 3′ 19.34″ |
| Alternative 2 |
| Description | Lat (DDMMSS) | Long (DDMMSS) |
| The alternative is a layout design alternative. | 29° 23′ 47.25″ | 25° 3′ 19.34″ |

In the case of linear activities:

| Alternative: | Latitude (S): | Longitude (E): |
| --- | --- | --- |
| Alternative S1 (preferred) |
| NOTE: The linear activity will be the underground power cable for the preferred site. |
| Starting point of the activity | 29° 23′ 47.25″ | 29° 23′ 47.25″ |
| Turn point 1 of the activity | 29° 23′ 47.29″ | 25° 3′ 16.39″ |
| Turn point 2 of the activity | 29° 23′ 54.96″ | 25° 3′ 13.46″ |
| End point of the activity | 29° 23′ 54.92″ | 25° 3′ 7.85″ |
| Alternative S2 (if any) |
| NOTE: The linear activity will be the overhead power line for the alternative site. |
| Starting point of the activity | 29° 23′ 51.85″ | 25° 3′ 15.24″ |
| Middle/Additional point of the activity | 29° 23′ 53.86″ | 25° 3′ 11.58″ |
| End point of the activity | 29° 23′ 54.80″ | 25° 3′ 8.10″ |
| Alternative S3 (if any) |
| Starting point of the activity |  |  |
| Middle/Additional point of the activity |  |  |
| End point of the activity |  |  |

For route alternatives that are longer than 500m, please provide an addendum with co-ordinates taken every 250 meters along the route for each alternative alignment.

In the case of an area being under application, please provide the co-ordinates of the corners of the site as indicated on the lay-out map provided in Appendix A of this form.

b)	Lay-out alternatives

| Alternative 1 (preferred alternative) |
| --- |
| Description | Lat (DDMMSS) | Long (DDMMSS) |
| Centre of the site: | 29° 23′ 47.25″ | 25° 3′ 19.34″ |
| Site boundary corners (clockwise starting from the top corner) | S29° 23′ 51.29″ | 25° 3′ 14.82″ |
|  | 29° 23′ 55.23″ | 25° 3′ 21.13″ |
|  | 29° 23′ 42.30″ | 25° 3′ 21.13″ |
|  | 29° 23′ 41.16″ | 25° 3′ 18.59″ |
| Transformer (centre point) | 29° 23′ 47.25″ | 25° 3′ 19.34″ |
| Construction and Laydown area (centre point) | S29° 23′ 42.08″ | E25° 3′ 19.16″ |
| The general farmland contours will remain undisturbed. No earthworks or surface hardening will be undertaken and the existing storm water drainage not will be disturbed. The site footprint will be approximately 6 hectares and the solar field will be enclosed within a 1.8 meter high diamond mesh outer fence and a 1.8 meter high, 18 strand electrified fence set inside. All inverters will be mounted on table structures which will be installed well clear of the ground and all AC collection cables will feed to the ‘step-up’ transformer at the centre of the array. A total of 198 solar tables, each with 68 panels set at a 25 degree pitch and facing due north will be installed. A 3m x 3m x 130mm concrete slab will be cast in the centre of the array for the mounting of the ‘step-up’ transformer. All solar tables will be set with a 5 meter vehicle service way between rows and a 1 meter walkway between each end. The solar tables will be installed on the natural existing contours and vegetation within the entire area will be maintained. 2 PVC conduits in a 600mm x 400mm trench will traverse from the step-up transformer northward to the southern side of the north fence line, then eastwards to the roadway where it will cross to connect with the existing Eskom substation. At the roadway the cables will rise on pole structures and cross with a 7 meter clearance over the road, canal and artificial wetland (east of the site) where the cables will return to the ground trench again to the new control room & the existing transformer and Eskom power lines. The temporary site office and storage area for construction will be located on the north-western corner of the site. Differences between the preferred and alternative layout are as follows: The power line will be installed underground (not overhead). An existing access road will be used to gain access to the site. A 5 meter buffer zone has been included in the preferred layout design, as per the recommendations of the wetland specialist’s report. The 5 meter buffer will be between the edge of the stormwater channel (artificial temporary wetland zone) and the outer fence line. No construction will take place within the artificial wetland located to the north and east of the site. The preferred lay-out will occupy approximately a 70 degree segment of the crop circle, significantly less than the alternative site. This means that a larger area of the existing cop circle can still be used for crop production. |  |  |
| Alternative 2 |
| Description | Lat (DDMMSS) | Long (DDMMSS) |
| Site boundary corners (clockwise starting from the top corner) | 29° 23′ 53.18″ | 25° 3′ 15.18″ |
|  | 29° 23′ 52.25″ | 25° 3′ 24.11″ |
|  | 29° 23′ 47.01″ | 25° 3′ 24.14″ |
|  | 29° 23′ 47.97″ | 25° 3′ 15.86″ |
| The alternative lay-out was the initial layout planned by the engineers prior to input from the environmental consultants and specialists. Technical specifications are very much the same as for the preferred alternative, however, the following main differences are applicable: Differences from the preferred layout are: The alternative lay-out considered an overhead powerline of approximately 200 meters in length instead on an underground power cable. Pylons for the powerline would have been placed within the artificial wetland area located to the north of the site. A new access road was planned to be constructed over the artificial wetland located to the North of the site. The preferred site will make use of an existing access road located further north. No buffer zone was considered between the artificial wetland and the site. The preferred site made provision for a 5m buffer area. The alternative lay-out will occupy a larger area of the crop circle thereby reducing the agricultural potential of the site. |  |  |
| Alternative 3 |
| Description | Lat (DDMMSS) | Long (DDMMSS) |

c)	Technology alternatives

Alternative 1 (preferred alternative)

Alternative 2

Alternative 3

d)	Other alternatives (e.g. scheduling, demand, input, scale and design alternatives)

Alternative 1 (preferred alternative)

Alternative 2

Alternative 3

e)	No-go alternative

The no-go option would result in site remaining unaltered. The preferred site would continue to be utilised for agricultural crops. However, the should the no-go option be selected, the farms productivity levels would decrease/ continue to decrease as a result of on-going power outages/ load shedding as electricity is required for various farming operations. Crops and produce could be lost as a result of power outages. For these reasons the no-go alternative is not a favourable option as on-going power outages would result in decreased productivity, which in turn would have a negative impact on food security/ supply to the general public. Decreased productivity may also negatively affect job security for the farm workers, managers and owners as well as the job security of other companies and service providers depending on the farm for business. The no-go option would prevent much needed power relive in a time where South Africa has been hit hard with load shedding.

Paragraphs 3 – 13 below should be completed for each alternative.

- Physical size of the activity

a)	Indicate the physical size of the preferred activity/technology as well as alternative activities/technologies (footprints):

| Alternative: |  | Size of the activity: |
| --- | --- | --- |
| Alternative A1 (preferred activity alternative) |  | 58 520 m2 |
| Alternative A2 (if any) |  | 58 520 m2 |
| Alternative A3 (if any) |  | m2 |

or, for linear activities:

| Alternative: |  | Length of the activity: |
| --- | --- | --- |
| Alternative A1 (preferred activity alternative) |  | 200m |
| Alternative A2 (if any) |  | 200m |
| Alternative A3 (if any) |  |  |

b)	Indicate the size of the alternative sites or servitudes (within which the above footprints will occur):

| Alternative: |  | Size of the site/servitude: |
| --- | --- | --- |
| Alternative A1 (preferred activity alternative) |  | 60 000m2 |
| Alternative A2 (if any) |  | 60 000m2 |
| Alternative A3 (if any) |  |  |

- Site Access

| Does ready access to the site exist? | YES √ | NO |
| --- | --- | --- |
| If NO, what is the distance over which a new access road will be built | m |

Describe the type of access road planned:

Include the position of the access road on the site plan and required map, as well as an indication of the road in relation to the site.

- LOCALITY MAP				NOTE: All maps are included in Appendix A

An A3 locality map must be attached to the back of this document, as Appendix A. The scale of the locality map must be relevant to the size of the development (at least 1:50 000. For linear activities of more than 25 kilometres, a smaller scale e.g. 1:250 000 can be used.  The scale must be indicated on the map.).  The map must indicate the following:

- an accurate indication of the project site position as well as the positions of the alternative sites, if any;

- indication of all the alternatives identified;

- closest town(s;)

- road access from all major roads in the area;

- road names or numbers of all major roads as well as the roads that provide access to the site(s);

- all roads within a 1km radius of the site or alternative sites; and

- a north arrow;

- a legend; and

- locality GPS co-ordinates (Indicate the position of the activity using the latitude and longitude of the centre point of the site for each alternative site.  The co-ordinates should be in degrees and decimal minutes. The minutes should have at least three decimals to ensure adequate accuracy.  The projection that must be used in all cases is the WGS84 spheroid in a national or local projection).

- LAYOUT/ROUTE PLAN

A detailed site or route plan(s) must be prepared for each alternative site or alternative activity.  It must be attached as Appendix A to this document.

The site or route plans must indicate the following:

- the property boundaries and numbers of all the properties within 50 metres of the site;

- the current land use as well as the land use zoning of the site;

- the current land use as well as the land use zoning each of the properties adjoining the site or sites;

- the exact position of each listed activity applied for (including alternatives);

- servitude(s) indicating the purpose of the servitude;

- a legend; and

- a north arrow.

- Sensitivity map

The layout/route plan as indicated above must be overlain with a sensitivity map that indicates all the sensitive areas associated with the site, including, but not limited to:

- watercourses;

- the 1:100 year flood line (where available or where it is required by DWS);

- ridges;

- cultural and historical features;

- areas with indigenous vegetation (even if it is degraded or infested with alien species); and

- critical biodiversity areas.

The sensitivity map must also cover areas within 100m of the site and must be attached in Appendix A.

- Site PHOTOGRAPHS

Colour photographs from the centre of the site must be taken in at least the eight major compass directions with a description of each photograph.  Photographs must be attached under Appendix B to this report.  It must be supplemented with additional photographs of relevant features on the site, if applicable.

- FACILITY ILLUSTRATION

A detailed illustration of the activity must be provided at a scale of at least 1:200 as Appendix C for activities that include structures.  The illustrations must be to scale and must represent a realistic image of the planned activity.  The illustration must give a representative view of the activity.

- ACTIVITY MOTIVATION

Motivate and explain the need and desirability of the activity (including demand for the activity):

| Is the activity permitted in terms of the property’s existing land use rights? | YES √ | NO | Please explain |
| --- | --- | --- | --- |
| The proposed development is located on property zoned as agricultural and the proposed activity is considered to be part of the farms infrastructure as the electricity generated will be used for farming operations. Due to load shedding, and the threat of national power outages, the proposed development will ensure that the farm is not vulnerable to power outages, the farm will be self-sustained. |
| Will the activity be in line with the following? |
| (a) Provincial Spatial Development Framework (PSDF) | YES | NO √ | Please explain |
| The only available Provincial Spatial Development Framework for Limpopo is the 2007 discussion document. Although this document does not explicitly refer to solar or renewable electricity generation, the following aspects pointed out in the PSDF indicates that the province may support similar activities: The provision of infrastructural services such as electricity, Infrastructure Service infrastructure is very important for economic development. The lack of service infrastructure or specific types of service infrastructure can have a very negative impact on economic development. The most important types of infrastructure are, roads, air transport, rail transport, electricity, One of the objectives of the PSDF is to provide for the use and preservation of agricultural land, especially high potential agricultural land. As the proposed activity will be utilised for cultivation of agricultural land via pivots, this is supported by the PSDF. |
| (b) Urban edge / Edge of Built environment for the area | YES | NO | Please explain |
|  | N/A |  |
| The proposed activity is situated outside of the urban edge and is characterised by rural and agricultural surroundings. |
| (c) Integrated Development Plan (IDP) and Spatial Development Framework (SDF) of the Local Municipality (e.g. would the approval of this application compromise the integrity of the existing approved and credible municipal IDP and SDF?). | YES | NO √ | Please explain |
| The activity is not related to any IDP or SDF. The proposed activity is the initiative of a private company to ensure that the activities and processes of the commercial farm are not interrupted due to power outages. The proposed activity will ensure that the farm continues to function optimally, thereby also ensuring job security and food security. |
| (d) Approved Structure Plan of the Municipality | YES | NO √ | Please explain |
| The proposed activity is not part of any municipal plan. |
| (e) An Environmental Management Framework (EMF) adopted by the Department (e.g. Would the approval of this application compromise the integrity of the existing environmental management priorities for the area and if so, can it be justified in terms of sustainability considerations?) | YES | NO √ | Please explain |
| A minimal quantity of water will be required during the construction phase (see section on water consumption). The operational phase will only require water to clean the solar panels not more than twice per year. Water will be sourced from the farms existing water sources approved under the relevant water regulatory bodies such as the Hereford Irrigation Scheme (attached under appendix J). The location of the proposed activity is on land which when under irrigation is classified as high potential agricultural land. The development will be approximately 6 hectares in extent and will have a minor impact on the land capability and considering that the power generated from the plant will be used as a resource to improve agricultural viability on the farm, it can be seen as a suitable offset with minimal impacts. Specialist studies were undertaken to determine the impact of the proposed activity, the following studies were undertaken: Ecological, Avifauna, Wetland, a Soil potential Report and an Archaeological Impact Assessment. The studies all indicate the proposed activity is viable should all the mitigation measures be successfully implemented. It is not anticipated that the proposed activity would compromise the integrity of the of the EMF priorities for the area. |
| (f) Any other Plans (e.g. Guide Plan) | YES | NO √ | Please explain |
| No other plans will be applicable to the proposed activity. |
| Is the land use (associated with the activity being applied for) considered within the timeframe intended by the existing approved SDF agreed to by the relevant environmental authority (i.e. is the proposed development in line with the projects and programmes identified as priorities within the credible IDP)? | YES | NO √ | Please explain |
| As mentioned previously the activity is not related to any IDP or SDF. The proposed activity is the initiative of a private company to ensure that the activities and processes of the commercial farm are not interrupted due to power outages. This will ensure that the farm continues to function optimally, thereby also ensuring job security and food security. |
| Does the community/area need the activity and the associated land use concerned (is it a societal priority)? (This refers to the strategic as well as local level (e.g. development is a national priority, but within a specific local context it could be inappropriate.) | YES √ | NO | Please explain |
| The activity will ensure that there is a constant supply of electricity to the farm, in spite of factors influencing the National Power grid supplied by Eskom. This will ensure job security for workers on the commercial farm and for all stakeholders. The Activity will contribute towards ensuring food security and upliftment of the socio-economic environment of the surrounding community. |
| Are the necessary services with adequate capacity currently available (at the time of application), or must additional capacity be created to cater for the development? (Confirmation by the relevant Municipality in this regard must be attached to the final Basic Assessment Report as Appendix I.) | YES √ | NO | Please explain |
| No additional services or capacity for services are required for the proposed activity. |
| Is this development provided for in the infrastructure planning of the municipality, and if not what will the implication be on the infrastructure planning of the municipality (priority and placement of services and opportunity costs)? (Comment by the relevant Municipality in this regard must be attached to the final Basic Assessment Report as Appendix I.) | YES | NO √ | Please explain |
| There is no implication on the infrastructure planning of the municipality, as any additional infrastructure will be managed by the land owner. At this stage it is not foreseen that any additional infrastructure will be needed, apart from the infrastructure forming part of this application. |
| Is this project part of a national programme to address an issue of national concern or importance? | YES | NO √ | Please explain |
| This project is not part of any national programme. It is not expected that the development would be in contradiction with any local planning/development objectives as the development of renewable energy facilities is encouraged by the national government. Although the proposed project is not part of a national programme, the proposed activity will address an issue of national concern and importance. Load shedding is currently a major national concern which impacts on South Africa’s economy. |
| Do location factors favour this land use (associated with the activity applied for) at this place? (This relates to the contextualisation of the proposed land use on this site within its broader context.) | YES √ | NO | Please explain |
| Yes the location for the site is suitable for this land use. The site is close to the infrastructure to which the plant will provide electricity for and is in a secure, access controlled area. While the development of the solar farm will have a small impact on the land capability, it should be taken into consideration that the power generation capacity will be used as a resource to improve agricultural viability of the farm, and can therefore be considered as a suitable offset with minimal impacts. It should be noted that only a portion of the crop circle will be utilised for the development (refer to the site layout plan in Appendix A). |
| Is the development the best practicable environmental option for this land/site? | YES √ | NO | Please explain |
| The preferred site is already a highly modified disturbed area (refer to the ecological study), as the site was previously used for crop cultivation, under irrigation. It should be noted that only a portion of the crop circle will be utilised for the development (refer to the site layout plan in Appendix A). |
| Will the benefits of the proposed land use/development outweigh the negative impacts of it? | YES √ | NO | Please explain |
| Yes the benefits outweigh the negative impacts. The proposed development will ensure that operation of the commercial farm remains an economically viable activity in spite of any load shedding or national power outages. By ensuring this, the proposed development also aids in ensuring food security for the regions of the country that benefit/ receive produce from the farm. The development will also therefore ensure job security for the local farm workers and the local community to suppliers and service providers employed by the farm. The proposed site is not located within any ecologically sensitive area. No red data plant or animal species were found to occur on the site (see specialist report) and the land on which the development will be constructed is already a disturbed area. Therefore it is anticipated that the benefit of the proposed development will outweigh the negative impacts of it. |
| Will the proposed land use/development set a precedent for similar activities in the area (local municipality)? | YES | NO √ | Please explain |
| No. |
| Will any person’s rights be negatively affected by the proposed activity/ies? | YES | NO √ | Please explain |
| No person’s rights will be negatively affected as the site will not require any person to be relocated and neither is the activity located directly adjacent to any other property where persons are residing. |
| Will the proposed activity/ies compromise the “urban edge” as defined by the local municipality? | YES | NO √ | Please explain |
| The activity is not located near any urban edge nor does it entail any urban developments. |
| Will the proposed activity/ies contribute to any of the 17 Strategic Integrated Projects (SIPS)? | YES | NO √ | Please explain |
| The project is not a listed project under the 17 SIP’s, although it would aid in contributing to the goals of SIP number 8. |
| What will the benefits be to society in general and to the local communities? | Please explain |
| Electricity generation from solar energy as renewable energy provides many socio-economic and environmental benefits such as: Food Security: Society will benefit by having continued access to agricultural products cultivated on the farm, as the crop integrity will not be affected by any power outages, in other words, the proposed development will aid in providing food security. Employment opportunities: The proposed development will ensure that the farm remains profitable, by being able to continually function without any damages caused to crops resulting from power outages, by continuing to be profitable, this will ensure that the farm workers remain employed. Employment opportunities: The construction of the proposed activity will also benefit local contractors. Increased energy security: The country’s current electricity crisis show the need for an alternative, more sustainable energy source. Saving of valuable resources: Water and natural resources can be saved by using solar energy as conventional power plants are major consumers of valuable natural resources such as coal. The facility does not depend on any non-renewable resources. (It is estimated that the worlds’ oil reserves will last 30-40 years, on the other hand solar energy is renewable). Pollution reduction: With solar energy no harmful by- products such as carbon, sulphur and nitrogen are released into the atmosphere, solar radiation is directly transformed to electricity. |
| Any other need and desirability considerations related to the proposed activity? | Please explain |
| As mentioned previously the proposed activity will ensure that there is a constant supply of electricity to the farm in spite of factors influencing the National Power grid supplied by Eskom. This will ensure job security for workers on the commercial farm and for all stakeholders. The Activity will contribute towards ensuring food security and upliftment of the socio-economic environmental of the surrounding community. |
| How does the project fit into the National Development Plan for 2030? | Please explain |
| One of the objectives of the South African National Development Plan for 2030 is procuring at least 20 000MW of renewable electricity by 2030. The proposed activity will form part of the objective of 20 000MW renewable electricity and will also add to South Africa’s electricity capacity. The project is also in line with the 2010 Integrated Resource Plan and will support government’s efforts to reduce greenhouse emissions generated by the electricity industry. The National Development Plan further states that more jobs need to be created through agricultural development and growth of irrigated agriculture and land production. The proposed activity will ensure that current jobs created are secured and will add to the mentioned growth of irrigated agriculture in South Africa. The proposed activity will further add to food security in South Africa, which is also mentioned in the National Development Plan. |
| Please describe how the general objectives of Integrated Environmental Management as set out in section 23 of NEMA have been taken into account. |
| The potential environmental, socio-economic and cultural impacts associated with the proposed activity were identified, predicated and evaluated as part of the environmental assessment conducted. The impacts of the preferred site, as well as the impacts of the alternative site were predicted and mitigation measures have been provided in order to mitigate these impacts to acceptable levels. A full list of the potential environmental, socio-economic and cultural impacts with their risk ratings and mitigation measures is included in Appendix F of this report. Specialist studies were conducted in order to evaluate the proposed site and identify any sensitive areas which might be impacted on by the proposed activity. The specialist studies provided the necessary mitigation measures to reduce any negative impacts associated with the proposed activity and have been included in the Environmental Management Programme. The environmental assessment included a public participation period which ensured input from various stakeholders and interested and affected parties. The principles of section 2 of NEMA were taken into account during the environmental assessment process. All potential significant impacts were identified along with the necessary mitigation measures which will ensure that pollution and degradation of the environment are avoided or minimised. |
| Please describe how the principles of environmental management as set out in section 2 of NEMA have been taken into account. |
| The principles of section 2 of NEMA were taken into account during the environmental assessment process. All potential significant impacts were identified along with the necessary mitigation measures which will ensure that pollution and degradation of the environment are avoided or minimised. The risks of potential impacts were rated according to a set methodology and this was used to determine the significance of negative impacts identified. Specific mitigation measures were developed for the proposed activity and a detailed description of the proposed mitigation measures are included in the Environmental Management Program. The proposed activity was evaluated taking into account people and their needs, as the activity will aid to job security, electricity security and food security. The proposed mitigation measures will ensure that the activity will be socially, environmentally and economically sustainable, as proposed mitigation measures reduces the associated negative impacts. The ecological assessment concluded that the vegetation of the proposed solar plant site and underground power cable servitude varies between degraded to completely modified. A heritage impact assessment conducted indicated that there are no cultural resources of significance, and as a result will not be impacted on by the proposed activity provided that mitigation provided in the AIA which entails monitoring, be implemented where applicable, and provided that no subsurface heritage remains are encountered during construction. The renewable energy source will further ensure that the proposed activity is environmentally and economically sustainable. Mitigation measures established pertaining to waste management encourages an integrated waste management approach ensuring that waste will be minimised, re-used or recycled as far as possible. A public participation process will be undertaken as part of the environmental assessment, thereby ensuring that all stakeholders and interested and affected parties involved were provided with an opportunity to provide their comments, and thus promoting public involvement. |

- Applicable legislation, policies and/or guidelines

List all legislation, policies and/or guidelines of any sphere of government that are applicable to the application as contemplated in the EIA regulations, if applicable:

| Title of legislation, policy or guideline | Applicability to the project | Administering authority | Date |
| --- | --- | --- | --- |
| GNR. 983 Item 1 (ii) | The proposed development entails a 3.5 Megawatt Photovoltaic Solar Power Plant with a footprint size of approximately 6 hectares in a rural, agricultural area. | National Department of Environmental Affairs (DEA) | 08 December 2014 |
| GNR 983 Item 28 (ii) | The proposed development is considered to be an industrial development. | DEA | 08 December 2014 |
| Environmental Impact Assessment Regulations, GNR 983, 984, 985, & 986 of 2014. | The project activates activity 1, 12 and 28 of GNR 983. The applicability to the project is given in the table under Section 1A, 1 (b). | National Department of Environmental Affairs (DEA) | 08 December 2014 |
| Agriculture Resources Act (Act 43 of 1983) | As the proposed site location falls within an agricultural zoned area an Agricultural Potential Assessment was undertaken. The proposed development can be seen as an offset for the agricultural land which will be utilised, as the solar plant will provide electricity to ensure the on-going effective running of agricultural activities on the farm. | Department of Agriculture, Forestry & Fisheries (DAFF) | 1983 |
| Integrated Environmental Management (IEM Department of Environmental Affairs: DEA, 1992). IEM is a philosophy that prescribes a code of practice for ensuring that environmental considerations are fully integrated into all stages of the development process. The goal is to achieve a balance between development and conservation. | The objectives and implementation requirements of IEM have been followed, the environmental impact of the activity is being evaluated and mitigation measures have been provided and will be implemented once the proposed activity commences. | Department of Environmental Affairs (DEA) | 1992 |
| National Heritage Resources Act, 1999 (Act no 25 of 1999) | As the development will exceed 5000 m2 a HIA was undertaken and the specialists report is appended to this BAR. | South African Heritage Resources Agency (SAHRA). | April 1999 |
| Environmental Conservation Act (Act No. 73 of 1989) | An Ecological study was undertaken and is appended to the BAR. | Department of Environmental Affairs. | 1989 |
| National Environmental Management: Biodiversity Act (Act No. 10 of 2004) | An Ecological study was undertaken and is appended to the BAR. | Department of Environmental Affairs. | 2004 |
| National Environmental Management Waste Act (Act No 59 of 2008) | Waste will be generated, as a result of the project and all waste must be handled/ disposed of in accordance with the Waste Act. | National Department of Environmental Affairs (DEA) | 2008 |
| National Water Act (Act No. 36 of 1998) | Water will be abstracted from the farms irrigation system. The farm is listed on the Hereford and Olifants Irrigation Schemes. | Department of Water and Sanitation | 1998 |
| Environmental Management Framework for the Olifants and Letaba Rivers Catchment Areas (OLEMF). Volume 1. | The proposed site falls within the Olifants and Letaba Rivers Catchment Areas, for which there is an EMF, although the project will not affect the objectives of the OLEMF. | Sekhukhune District Municipality | December 2009 |
| Provincial Spatial Development Framework for Limpopo | Although not part of the PSDF, the PSDF does support similar activities (refer to question 2 in section 10 above). | Limpopo Government | 2007 |
| Spatial Development Framework | The activity is not related to any SDF. | Ephraim Mogale Local Municipality | 2007 |
| Integrated Development Plan | The activity is not related to any IDP, although the IDP does indicate that there is a need for activities such as the proposed activity. | Ephraim Mogale Local Municipality | 2013/2014 |
| Limpopo Green Economy Plan Including Provincial Climate Change Response | The proposed activity falls in line with and supports the goals of the Green Economy plans. | Limpopo Government | 2013 June |

- Waste, effluent, emission and noise management

a)	Solid waste management

| Will the activity produce solid construction waste during the construction/initiation phase? | YES √ | NO |
| --- | --- | --- |
| If YES, what estimated quantity will be produced per month? | 10 m3 |

How will the construction solid waste be disposed of (describe)?

Minimal amounts of construction waste will be generated and will be temporarily stored in a skip and periodically taken off-site for disposal at an acceptable landfill site.

Where will the construction solid waste be disposed of (describe)?

Minimal amounts of waste will be generated which will be temporarily stored in a waste skip and periodically taken off-site for disposal at a registered landfill site within the Ephraim Mogale Local Municipality. No solid waste will be disposed of on-site, and soil and materials contaminated with oil or other HCS can be disposed of at hazardous waste facility in Polokwane. The details of the municipal landfill site in Marble Hall and the Polokwane hazardous waste facility are given in the table below: Permit Reference No Waste Disposal Site Class Type of Facility Date Issued Permit Holder Address 16/2/7/G100/D4/Z1/261 Marble Hall G:M:B- Landfill 29/03/1997 Transitional Local Council of Marble Hall P. O. Box 111, Marble Hall, 0405 12/9/11/P42 Tshumisano H:H HCRW Storage 2008/03/09 Tshumisano Waste Management P.O. Box 4331 Polokwane 700 .

| Will the activity produce solid waste during its operational phase? | YES √ | NO |
| --- | --- | --- |
| If YES, what estimated quantity will be produced per month? | 0.14 m3 |
| How will the solid waste be disposed of (describe)? |  |
| Only domestic/ general waste will be produced on a monthly basis by the two staff on site during the operational phase. The waste will be disposed of at the municipal waste disposal site along with other domestic/ general waste from the farm. PV Solar panels which might break would create additional waste, although it will not be an on-going regular occurrence to have to dispose of this waste. The broken PV panels are considered to be hazardous waste and will be disposed of as such (refer to the section below). |
| If the solid waste will be disposed of into a municipal waste stream, indicate which registered landfill site will be used. |
| Where will the solid waste be disposed of if it does not feed into a municipal waste stream (describe)? |
| If the solid waste (construction or operational phases) will not be disposed of in a registered landfill site or be taken up in a municipal waste stream, then the applicant should consult with the competent authority to determine whether it is necessary to change to an application for scoping and EIA. |

| Can any part of the solid waste be classified as hazardous in terms of the NEM:WA? | YES √ | NO |
| --- | --- | --- |
| NOTE: No waste permit is required as the proposed development will not produce hazardous waste as a by-product on an on-going basis. It is only in the event that any PV solar panels (which are considered hazardous) are broken, will the need arise to dispose of the broken panels at a registered hazardous waste disposal site. Should any panels be broken they will be sent to a registered hazardous waste disposal site, the nearest site being the Tshumisano waste site in Polokwane with the following details: Permit Reference No Waste Disposal Site Class Type of Facility Date Issued Permit Holder Address 12/9/11/P42 Tshumisano H:H HCRW Storage 2008/03/09 Tshumisano Waste Management P.O. Box 4331 Polokwane 700 . |
| If YES, inform the competent authority and request a change to an application for scoping and EIA. An application for a waste permit in terms of the NEM:WA must also be submitted with this application. |

| Is the activity that is being applied for a solid waste handling or treatment facility? | YES | NO √ |
| --- | --- | --- |
| If YES, then the applicant should consult with the competent authority to determine whether it is necessary to change to an application for scoping and EIA. An application for a waste permit in terms of the NEM:WA must also be submitted with this application. |

b)	Liquid effluent

| Will the activity produce effluent, other than normal sewage, that will be disposed of in a municipal sewage system? | YES | NO √ |
| --- | --- | --- |
| If YES, what estimated quantity will be produced per month? | m3 |
| Will the activity produce any effluent that will be treated and/or disposed of on site? | YES | NO √ |
| If YES, the applicant should consult with the competent authority to determine whether it is necessary to change to an application for scoping and EIA. |

| Will the activity produce effluent that will be treated and/or disposed of at another facility? | YES | NO √ |
| --- | --- | --- |
| If YES, provide the particulars of the facility: |
| Facility name: |  |
| Contact person: |  |
| Postal address: |  |
| Postal code: |  |
| Telephone: |  | Cell: |  |
| E-mail: |  | Fax: |  |

Describe the measures that will be taken to ensure the optimal reuse or recycling of waste water, if any:

The only effluent which will be generated from the facility, will be during the operational phase, is the water used to wash the solar panels. No chemicals will be used to clean the solar panels; therefore the waste water will only consist of dust and water and will have no impact on the environment and will water any vegetation growing under the solar panels.

c)	Emissions into the atmosphere

| Will the activity release emissions into the atmosphere other than exhaust emissions and dust associated with construction phase activities? | YES | NO √ |
| --- | --- | --- |
| If YES, is it controlled by any legislation of any sphere of government? | YES | NO |
| If YES, the applicant must consult with the competent authority to determine whether it is necessary to change to an application for scoping and EIA. |
| If NO, describe the emissions in terms of type and concentration: |
| The activity will not produce any emissions during operation. It is anticipated that during the construction phase, dust emissions and vehicle fumes will result and this will be limited to the construction phase. Proper mitigation measures (dust suppression techniques) will be employed to ensure that the impact is properly managed. |

d)	Waste permit

| Will any aspect of the activity produce waste that will require a waste permit in terms of the NEM:WA? | YES | NO √ |
| --- | --- | --- |

If YES, please submit evidence that an application for a waste permit has been submitted to the competent authority

e)	Generation of noise

| Will the activity generate noise? | YES √ | NO |
| --- | --- | --- |
| If YES, is it controlled by any legislation of any sphere of government? | YES | NO √ |
| Describe the noise in terms of type and level: |
| There will be no noise generated during the operational phase. There will be a slight increase in ambient noise levels during construction from construction plant and vehicles, however it will be localized to the site. The noise levels are expected to not be very high and the activities will be restricted to the normal working hours. |

- WATER USE

Please indicate the source(s) of water that will be used for the activity by ticking the appropriate box(es):

| Municipal | Water board √ | Groundwater | River, stream, dam or lake | Other | The activity will not use water |
| --- | --- | --- | --- | --- | --- |

| If water is to be extracted from groundwater, river, stream, dam, lake or any other natural feature, please indicate the volume that will be extracted per month: | 50,000 and 4,000 litres |
| --- | --- |
| 50 cubic meters average per month for the construction phase; and 4 cubic meters average per month during the operational phase. |  |  |
| Does the activity require a water use authorisation (general authorisation or water use license) from the Department of Water Affairs? | YES | NO √ |
| If YES, please provide proof that the application has been submitted to the Department of Water Affairs. |

- ENERGY EFFICIENCY

Describe the design measures, if any, which have been taken to ensure that the activity is energy efficient:

The generation of electricity through solar power is in itself energy efficient. The proposed development will produce energy from a “green” power source. The photovoltaic PV panels produce electricity by direct conversion of solar rays to energy. The energy source is free and clean and no consumption/ burning of fuel is required.

Describe how alternative energy sources have been taken into account or been built into the design of the activity, if any:

No alternative energy sources have been taken into account for this development. The installation of a Photovoltaic solar plant is considered to be a clean renewable energy source for power generation and will thereby significantly reduce the amount of electricity used from a coal fired plant (Eskom) by the farm.

Section B: SITE/area/PROPERTY description

Important notes:

- For linear activities (pipelines, etc) as well as activities that cover very large sites, it may be necessary to complete this section for each part of the site that has a significantly different environment.  In such cases please complete copies of Section B and indicate the area, which is covered by each copy No. on the Site Plan.

| Section B Copy No. (e.g. A): | 1 |
| --- | --- |

- Paragraphs 1 - 6 below must be completed for each alternative.

| NOTE: Paragraphs 1 – 6 are exactly the same for both the preferred alternative layout and the alternative layout and therefore has not been duplicated. |
| --- |
| Has a specialist been consulted to assist with the completion of this section? | YES √ | NO |
| If YES, please complete the form entitled “Details of specialist and declaration of interest” for each specialist thus appointed and attach it in Appendix I. All specialist reports must be contained in Appendix D. |

| Property description/physical address: | Province Limpopo District Municipality Greater Sekhukhune District Municipality Local Municipality Ephraim Mogale Local Municipality Ward Number(s) Ward number 7 Farm name and number Blaauwildebeestfontein 16-JS Portion number Portion 4 SG Code T0JS0000 JS0000001600004 |
| --- | --- |
|  | Where a large number of properties are involved (e.g. linear activities), please attach a full list to this application including the same information as indicated above. |
| Current land-use zoning as per local municipality IDP/records: | Agriculture |
|  | In instances where there is more than one current land-use zoning, please attach a list of current land use zonings that also indicate which portions each use pertains to, to this application. |
| Is a change of land-use or a consent use application required? | YES | NO √ |
| NOTE: The solar plant will form part of the farm’s infrastructure as the electricity generated by the solar plant will be used for farm operations. |

- GRADIENT OF THE SITE

Indicate the general gradient of the site.

Alternative S1:

| Flat | 1:50 – 1:20 √ | 1:20 – 1:15 | 1:15 – 1:10 | 1:10 – 1:7,5 | 1:7,5 – 1:5 | Steeper than 1:5 |
| --- | --- | --- | --- | --- | --- | --- |

Alternative S2 (if any):

| NOTE: Two layout alternatives were assessed and both are located on the same site, therefore paragraphs 1 – 6 in this section will be exactly the same for both alternatives. |
| --- |
| Flat | 1:50 – 1:20 | 1:20 – 1:15 | 1:15 – 1:10 | 1:10 – 1:7,5 | 1:7,5 – 1:5 | Steeper than 1:5 |

Alternative S3 (if any):

| Flat | 1:50 – 1:20 | 1:20 – 1:15 | 1:15 – 1:10 | 1:10 – 1:7,5 | 1:7,5 – 1:5 | Steeper than 1:5 |
| --- | --- | --- | --- | --- | --- | --- |

- location in landscape

Indicate the landform(s) that best describes the site:

| 2.1 Ridgeline |  | 2.4 Closed valley |  | 2.7 Undulating plain / low hills |  |
| --- | --- | --- | --- | --- | --- |
| 2.2 Plateau |  | 2.5 Open valley | √ | 2.8 Dune |  |
| 2.3 Side slope of hill/mountain |  | 2.6 Plain |  | 2.9 Seafront |  |
| 2.10 At sea |  |  |  |  |  |

- GroundwateR, Soil and Geological stability of the site

Is the site(s) located on any of the following?

|  | Alternative S1: |  | Alternative S2 (if any): |  | Alternative S3 (if any): |
| --- | --- | --- | --- | --- | --- |
| Shallow water table (less than 1.5m deep) | YES | NO √ |  | YES | NO √ |  | YES | NO |
| Dolomite, sinkhole or doline areas | YES | NO √ |  | YES | NO √ |  | YES | NO |
| Seasonally wet soils (often close to water bodies) | YES | NO √ |  | YES | NO √ |  | YES | NO |
| Unstable rocky slopes or steep slopes with loose soil | YES | NO √ |  | YES | NO √ |  | YES | NO |
| Dispersive soils (soils that dissolve in water) | YES | NO √ |  | YES | NO √ |  | YES | NO |
| Soils with high clay content (clay fraction more than 40%) | YES | NO √ |  | YES | NO √ |  | YES | NO |
| Any other unstable soil or geological feature | YES | NO √ |  | YES | NO √ |  | YES | NO |
| An area sensitive to erosion | YES | NO √ |  | YES | NO √ |  | YES | NO |

If you are unsure about any of the above or if you are concerned that any of the above aspects may be an issue of concern in the application, an appropriate specialist should be appointed to assist in the completion of this section.  Information in respect of the above will often be available as part of the project information or at the planning sections of local authorities.  Where it exists, the 1:50 000 scale Regional Geotechnical Maps prepared by the Council for Geo Science may also be consulted.

- Groundcover

Indicate the types of groundcover present on the site.  The location of all identified rare or endangered species or other elements should be accurately indicated on the site plan(s).

| Natural veld - good conditionE | Natural veld with scattered aliensE | Natural veld with heavy alien infestationE | Veld dominated by alien speciesE | Gardens |
| --- | --- | --- | --- | --- |
| Sport field | Cultivated land √ | Paved surface | Building or other structure | Bare soil |

If any of the boxes marked with an “E “is ticked, please consult an appropriate specialist to assist in the completion of this section if the environmental assessment practitioner doesn’t have the necessary expertise.

NOTE: Refer to the map of the vegetation units in the ecological report

- SURFACE WATER

Indicate the surface water present on and or adjacent to the site and alternative sites?

| Perennial River | YES | NO √ | UNSURE |
| --- | --- | --- | --- |
| Non-Perennial River | YES | NO √ | UNSURE |
| Permanent Wetland | YES | NO √ | UNSURE |
| Seasonal Wetland | YES | NO √ | UNSURE |
| Artificial Wetland | YES √ (Adjacent) | NO √ | UNSURE |
| Estuarine / Lagoonal wetland | YES | NO √ | UNSURE |

If any of the boxes marked YES or UNSURE is ticked, please provide a description of the relevant watercourse.

The presence of storm water canals with wetland characteristics can be observed to the north and east of the proposed development site and therefore the need was identified to verify this presence / absence of a wetland through a wetland screening assessment, which was undertaken by a wetland specialist. The wetland screening assessment is appended to this BAR. The wetland specialist deduced that based on the vegetation, soil form and wetness indicators associated with wetland conditions, as stipulated in the DWAF (1999) guidelines, the area on site indicated in Figure 2 of the wetland report and also on the sensitivity map represent an artificial temporary wetland zone. The artificial temporary wetland was formed as a result of stormwater canals carrying baseflow off site. In the conclusion of the wetland report, the specialist stated that the proposed development could be supported provided that the stormwater control on site is addressed by an engineer in a detailed stormwater management plan, and a small buffer of about 5 meter be implemented to ensure the canal integrity is kept intact.

- Land use character of surrounding area

Indicate land uses and/or prominent features that currently occur within a 500m radius of the site and give description of how this influences the application or may be impacted upon by the application:

| Natural area | Dam or reservoir √ | Polo fields |
| --- | --- | --- |
| Low density residential | Hospital/medical centre | Filling station H |
| Medium density residential | School | Landfill or waste treatment site |
| High density residential | Tertiary education facility | Plantation |
| Informal residentialA | Church | Agriculture √ |
| Retail commercial & warehousing | Old age home | River, stream or wetland √ |
| Light industrial | Sewage treatment plantA | Nature conservation area |
| Medium industrial AN | Train station or shunting yard N | Mountain, koppie or ridge |
| Heavy industrial AN | Railway line N | Museum |
| Power station | Major road (4 lanes or more) N | Historical building |
| Office/consulting room | Airport N | Protected Area |
| Military or police base/station/compound | Harbour | Graveyard |
| Spoil heap or slimes damA | Sport facilities | Archaeological site |
| Quarry, sand or borrow pit | Golf course | Other land uses (describe) |

If any of the boxes marked with an “N “are ticked, how will this impact / be impacted upon by the proposed activity? Specify and explain:

If any of the boxes marked with an "An" are ticked, how will this impact / be impacted upon by the proposed activity?  Specify and explain:

If any of the boxes marked with an "H" are ticked, how will this impact / be impacted upon by the proposed activity?  Specify and explain:

Does the proposed site (including any alternative sites) fall within any of the following:

| Critical Biodiversity Area (as per provincial conservation plan) | YES | NO √ |
| --- | --- | --- |
| Core area of a protected area? | YES | NO √ |
| Buffer area of a protected area? | YES | NO √ |
| Planned expansion area of an existing protected area? | YES | NO √ |
| Existing offset area associated with a previous Environmental Authorisation? | YES | NO √ |
| Buffer area of the SKA? | YES | NO √ |

If the answer to any of these questions was YES, a map indicating the affected area must be included in Appendix A.

- Cultural/Historical Features

| Are there any signs of culturally or historically significant elements, as defined in section 2 of the National Heritage Resources Act, 1999, (Act No. 25 of 1999), including Archaeological or paleontological sites, on or close (within 20m) to the site? If YES, explain: | YES | NO √ |
| --- | --- | --- |
|  | Uncertain |

If uncertain, conduct a specialist investigation by a recognised specialist in the field (archaeology or palaeontology) to establish whether there is such a feature(s) present on or close to the site. Briefly explain the findings of the specialist:

An Archaeological impact assessment was undertaken for the proposed development and no heritage resources were found. The specialist report stated that the project should be allowed to proceed from a cultural resources management perspective, provided that the mitigation measures provided in this assessment (monitoring), endorsed by the relevant Heritage Resources authority, are implemented where applicable, and provided that no subsurface heritage remains are encountered during construction.

| Will any building or structure older than 60 years be affected in any way? | YES | NO √ |
| --- | --- | --- |
| Is it necessary to apply for a permit in terms of the National Heritage Resources Act, 1999 (Act 25 of 1999)? | YES | NO √ |
| If YES, please provide proof that this permit application has been submitted to SAHRA or the relevant provincial authority. |

- SOCIO-ECONOMIC CHARACTER

a)	Local Municipality

Please provide details on the socio-economic character of the local municipality in which the proposed site(s) are situated.

Level of unemployment:

Employment Profile (from Ephraim Mogale LM IDP 2014/2011 and sourced from Census 2011): Rate Percentage Employed 58.64 (18350) Unemployed 41.36 (12944) Total 100 (31294)

Economic profile of local municipality:

Economic Sectors (the largest sectors a highlighted): Sector Percentage Agriculture; 5.8 Mining; 12.5 Manufacturing: 4.6 Electricity 3.1 Construction 1.3 Trade; 12.6 Transport; 8.3 Finance 21.9 Community Services 29.8 Total Industries 100%

Level of education:

Education (aged 20 +) Percentage No schooling 15 Some Primary 31 Completed Primary 7 Some Secondary 32 Grade 12/ Std 10 12 Higher 3 Total 100 .

b)	Socio-economic value of the activity

| What is the expected capital value of the activity on completion? | R 31 000 000.00 (Excl. Vat) |
| --- | --- |
| What is the expected yearly income that will be generated by or as a result of the activity? | R 2 400 000.00 per year with an escalation of +/- 10% per year. |
| Will the activity contribute to service infrastructure? | YES | NO √ |
| Is the activity a public amenity? | YES | NO √ |
| How many new employment opportunities will be created in the development and construction phase of the activity/ies? | 20 |
| What is the expected value of the employment opportunities during the development and construction phase? | R 100 000.00 per month |
| What percentage of this will accrue to previously disadvantaged individuals? | 100 % |
| How many permanent new employment opportunities will be created during the operational phase of the activity? | 2 |
| What is the expected current value of the employment opportunities during the first 10 years? | R1 200 000.00 |
| What percentage of this will accrue to previously disadvantaged individuals? | 100 % |

- Biodiversity

Please note: The Department may request specialist input/studies depending on the nature of the biodiversity occurring on the site and potential impact(s) of the proposed activity/ies.  To assist with the identification of the biodiversity occurring on site and the ecosystem status consult http://bgis.sanbi.org or BGIShelp@sanbi.org. Information is also available on compact disc (cd) from the Biodiversity-GIS Unit, Ph (021) 799 8698.  This information may be updated from time to time and it is the applicant/ EAP’s responsibility to ensure that the latest version is used.  A map of the relevant biodiversity information (including an indication of the habitat conditions as per (b) below) and must be provided as an overlay map to the property/site plan as Appendix D to this report.

a)	Indicate the applicable biodiversity planning categories of all areas on site and indicate the reason(s) provided in the biodiversity plan for the selection of the specific area as part of the specific category)

| Systematic Biodiversity Planning Category | If CBA or ESA, indicate the reason(s) for its selection in biodiversity plan |
| --- | --- |
| Critical Biodiversity Area (CBA) | Ecological Support Area (ESA) | Other Natural Area (ONA) | No Natural Area Remaining (NNR) √ |  |

b)	Indicate and describe the habitat condition on site

| Habitat Condition | Percentage of habitat condition class (adding up to 100%) | Description and additional Comments and Observations (including additional insight into condition, e.g. poor land management practises, presence of quarries, grazing, harvesting regimes etc). |
| --- | --- | --- |
| Natural | 0 % |  |
| Near Natural (includes areas with low to moderate level of alien invasive plants) | 0 % |  |
| Degraded (includes areas heavily invaded by alien plants) | 20 % | Three vegetation units were identified by the specialist, in the ecological screening assessment, on the site where the solar panels will be stationed and along the length of the power line: The degraded grassland areas adjacent to the cultivated land has a low sensitivity and are characterised by grass species such as Cynodon dactylon, Urochloa mosambicensis and Dactylotenium aegyptium; The artificial stormwater canals represent degraded areas with a medium – low sensitivity. These canals do show some wetland characteristics (hydrophilic grasses and Cyperaceae species), although as entities have limited ecosystem and hydrological functionalities; |
| Transformed (includes cultivation, dams, urban, plantation, roads, etc) | 80 % | The cultivated land has a zero sensitivity and only a few pioneer grasses and exotic weeds was noted on these areas. |

c)	Complete the table to indicate:

(i)	the type of vegetation, including its ecosystem status, present on the site; and

(ii)	whether an aquatic ecosystem is present on site.

| Terrestrial Ecosystems | Aquatic Ecosystems |
| --- | --- |
| Ecosystem threat status as per the National Environmental Management: Biodiversity Act (Act No. 10 of 2004) | Critical | Wetland (including rivers, depressions, channelled and unchanneled wetlands, flats, seeps pans, and artificial wetlands) | Estuary | Coastline |
|  | Endangered |  |  |  |
|  | Vulnerable |  |  |  |
|  | Least Threatened √ |  |  |  |
|  |  | YES √ | NO | UNSURE | YES | NO √ | YES | NO √ |

d)	Please provide a description of the vegetation type and/or aquatic ecosystem present on site, including any important biodiversity features/information identified on site (e.g. threatened species and special habitats)

The ecological specialist conducted a site visit in March 2015 and made the following notes: The most recent classification of the area by Mucina & Rutherford (2006) is Central Sandy Bushveld vegetation type, although most of the site has been completely modified with small pockets of degraded grassland dominated by exotic weeds and pioneer grass species observed. The site is not located within any of the Limpopo Conservation Plan Areas of concern and is classified into an area that has “No Natural Habitat Remaining”. The ecological specialist identified one species of conservation importance occurring in the area, which according to the National Forest Act is the protected species Sclerocarya birrea (marula). A single individual occurs to the south of the proposed underground power cable, although no impact will occur on this specimen. The vegetation of the proposed solar plant site and power line servitude varies between degraded to completely modified. A detailed plant species list for the site is included in Appendix B of the Ecological Report, while photographs indicating the state of degradation are included as Appendix C of the Ecological Report. The sensitivities of the vegetation units are as follows: The cultivated land has a zero sensitivity and only a few pioneer grasses and exotic weeds were noted on these areas; The degraded grassland areas adjacent to the cultivated land has a low sensitivity and are characterised by grass species such as Cynodon dactylon, Urochloa mosambicensis and Dactylotenium aegyptium; The artificial stormwater canals represent degraded areas with a medium – low sensitivity. These canals do show some wetland characteristics (hydrophilic grasses and Cyperaceae species), although as entities have limited ecosystem and hydrological functionalities;

Section C: public participation

- ADVERTISEMENT and Notice

| Publication name | The Daller |
| --- | --- |
| Date published | 2 October 2015 |
| Site notice position | Latitude | Longitude |
|  | TBA |  |
| Date placed | 2 October 2015 |

Include proof of the placement of the relevant advertisements and notices in Appendix E1.

- Determination of appropriate measures

Provide details of the measures taken to include all potential I&APs as required by Regulation 41(2)(e) and 41(6) of GN 733.

Key stakeholders (other than organs of state) identified in terms of Regulation 41(2)(b) of GN 733

| Title, Name and Surname | Affiliation/ key stakeholder status | Contact details (tel number or e-mail address) |
| --- | --- | --- |
| Mr. Hendrik Schoeman | Land owner & owner of adjacent farm (Schoeman Boerdery) | 013 262 6600 ontvangs@moosrivier.co.za |
| Mr. Hendri Pieterse | Land owner & owner of adjacent farm (HN Pieterse Boerdery) | 082 387 3901 petra@hnpieterse.co.za |

Include proof that the key stakeholder received written notification of the proposed activities as Appendix E2.  This proof may include any of the following:

- e-mail delivery reports;

- registered mail receipts;

- courier waybills;

- signed acknowledgements of receipt; and/or

- or any other proof as agreed upon by the competent authority.

- Issues raised by interested and affected parties

| Summary of main issues raised by I&APs | Summary of response from EAP |
| --- | --- |
| NOTE: Public Participation is currently in progress, comments will be recorded in the Final BAR submitted to the DEA. |  |

- Comments and response report

The practitioner must record all comments received from I&APs and respond to each comment before the Draft BAR is submitted. The comments and responses must be captured in a comments and response report as prescribed in the EIA regulations and be attached to the Final BAR as Appendix E3.

- AUTHORITY PARTICIPATION

Authorities and organs of state identified as key stakeholders:

| Authority/Organ of State | Contact person (Title, Name and Surname) | Tel No | Fax No | e-mail | Postal address |
| --- | --- | --- | --- | --- | --- |
| DEA (Department of Environmental Affairs) | Case Officer (Renewable Energy Projects) Mr. Muhammad Essop | Call Centre: 0861112468 / Switch Board: 012 399 9000 / Muhammed direct line: 012 399 9406 |  | messop@environment.gov.za | Environment House 437 Steve Biko Road, Arcadia, Pretoria |
| LEDET (Limpopo Department of Economic Development, Environment & Tourism) | Senior Manager: Environmental Impact Management Mr. Victor Mongwe | PA: 0152907091 Direct: 082 412 5605 | 015 295 5015 | mongwev@ledet.gov.za | Private Bag X9884 0700 |
| Greater Sekhukhune District Municipality | Municipal Managers Office: Mr. Seoketsan | 013 262 7300/1/2 |  | seoketsan@sekhukhune.gov.za | 3 West Street, Groblersdal. 0470 |
| Ephraim Mogale Local Municipality | Community Services: Environmental Services Manager Mr. Corrie Badenhorst | 013 261 8400 | 013 261 2985 | cbadenhorst@emogalelm.gov.za | PO Box 111, Marble Hall 0450 |
| Ward Nr 7 | Cllr L. J. Mphahlele | 073 134 5467 |  | ljmphahlele@gmail.com | Office of the Mayor: 13 Ficus Street Marble Hall, Limpopo, 0450 |
| DWS (Limpopo Department of Water & Sanitation) | Chief Director: Limpopo Region. Ms. L.T. Kobe | 015 290 1213/ 082 908 7924 |  | KobeL@dwa.gov.za | Azmo Place. 49 Joubert Street, Polokwane |
| LDARD (Limpopo Department of Agriculture and Rural Development) | Manager: Land Care Division. Mr. Selemena | 015 294 3000 (switch board) / Selemena Direct: 015 294 3625/ PA 015 294 3558 |  | selemena@ldard.gov.za | 015 294 3000 (switch board) / Selemena Direct: 015 294 3625/ PA 015 294 3558 |
| DPW (Limpopo Department of Public Works, Roads & Infrastructure ) | General Manager: Strategic Management Mr. R Malele | 015 284 7113/ 7102 |  | rmalele@dpw.limpopo.gov.za | 43 Church Street, Polokwane, 0700 |
| SAHRA | Heritage Officer: Ms. Nokukhangya Khumalo | (021) 462 4502 |  | nkhumalo@sahra.org.za | 111 Harrington Street Cape Town, 8001 |
| ESKOM | Mr. John Geeringh | 011 516 7233/ 083 632 7662/3 |  | John.geeringh@eskom.co.za | 1 Maxwell Drive, Megawatt Park, Sunninghill, 2157 |
| SKA Project Office | Head of Strategy: Adrian Pitlady | 011 442 2434/ 072 372 0134 |  | apitlady@ska.ac.za | SKA Johannesberg Office, 17 Baker Street, Rosebank. |

Include proof that the Authorities and Organs of State received written notification of the proposed activities as appendix E4.

In the case of renewable energy projects, Eskom and the SKA Project Office must be included in the list of Organs of State.

- CONSULTATION WITH OTHER STAKEHOLDERS

Note that, for any activities (linear or other) where deviation from the public participation requirements may be appropriate, the person conducting the public participation process may deviate from the requirements of that sub-regulation to the extent and in the manner as may be agreed to by the competent authority.

Proof of any such agreement must be provided, where applicable. Application for any deviation from the regulations relating to the public participation process must be submitted prior to the commencement of the public participation process.

A list of registered I&APs must be included as appendix E5.

Copies of any correspondence and minutes of any meetings held must be included in Appendix E6.

Section D: Impact Assessment

The assessment of impacts must adhere to the minimum requirements in the EIA Regulations, 2014 and should take applicable official guidelines into account.  The issues raised by interested and affected parties should also be addressed in the assessment of impacts.

- Impacts that may result fRom the planning and design, CONSTRUCTION, OPERATIONAL, DECOMMISSIONING AND CLOSURE phaseS AS WELL AS PROPOSED MANAGEMENT OF identified IMPACTS AND PROPOSED mitigation measures

Provide a summary and anticipated significance of the potential direct, indirect and cumulative impacts that are likely to occur as a result of the planning and design phase, construction phase, operational phase, decommissioning and closure phase, including impacts relating to the choice of site/activity/technology alternatives as well as the mitigation measures that may eliminate or reduce the potential impacts listed. This impact assessment must be applied to all the identified alternatives to the activities identified in Section A (2) of this report.

| NOTE: The mitigation measures given in this section is a summary of the mitigation measures provided in Appendix F and in the EMPr. Refer to Appendix F and the EMPr for more detailed information regarding mitigation measures to be implemented. |
| --- |
| Potential environmental impacts and key issues were identified through a site visit, specialist studies, GIS and desktop studies and consultation of interested and affected parties. The significance of each of the potential impacts was calculated in order to determine to what extent the potential environmental impact have to be mitigated. The predicted impacts were divided into the following categories: 1) Negligible - The impact is not significant and does not require any mitigation. 2) Low- The impact has a low significance which may require partial mitigation. 3) Moderate - The impact is of importance and as a result might have a negative impact on the surrounding environment. Mitigation is there for required in order to reduce the negative impacts to tolerable levels. 4) High - The impact is of high importance and as a result might have a major impact on the surrounding environment. Mitigation measures needed to reduce the negative impacts to tolerable levels is vital in order to make the proposed development feasible. The following factors were evaluated when determining the significance of the impacts: Longevity/ Duration Short term: The duration of the impact will be over a short period of time. Medium term: The duration of the impact will be over a medium period of time. Normally not longer than the last phase of the proposed project through implementation of adequate mitigation measures. Long term: The duration of the impact will be over a long period of time. Normally throughout the operational phase of the proposed project through implementation of adequate mitigation measures. Permanent: The impact will be permanent and will not even be addressed through implementation of adequate mitigation measures. |
| Intensity/ Magnitude Low: Natural processes are not affected or disturbed as a result of the impact. Medium: Natural processes are affected or disturbed as a result of the impact, however continues in an altered manner. High: Natural processes are affected or disturbed in such a manner that it is permanent. Natural processes are ceased as a result of the impact. Probability Improbable: The possibility of the impact occurring is very low to negligible. Probable: The possibility of the impact occurring is still low, however must be taken into account during development of mitigation measures. Highly Probable: The possibility of the impact occurring is highly likely. Definite: The possibility of the impact occurring is certain. Significance Negligible: The implication of the impact is negligible. Low: The implication of the impact is low and limited mitigation will be required. Moderate: The implication of the impact is moderate and specific mitigation measures will be required. High: The implication of the impact is high and extensive mitigation measures will be required. IMPACT RATING METHODOLOGY: Aspect Description Weight Scale Local 1 Site 2 Regional 3 Duration Short term 1 Medium term 3 Long term 4 Permanent 5 Magnitude/Severity Low 2 Medium 6 High 8 Probability Improbable 1 Probable 2 Highly Probable 4 Definite 5 Significance Sum (Scale, Duration, Magnitude) x Probability Negligible <20 Low <40 Moderate <60 High >60 |
| Activity | Impact summary | Significance WOM | Significance WM |
| Alternative 1: Preferred Alternative |
| Planning and Design Phase |
|  | Direct impacts: |
|  | None. |  |  |
|  | Indirect impacts: |
|  | None. |  |  |
|  | Cumulative impacts: |
|  | Water Resource Depletion Water is used to grow trees from which paper is used, therefore wasting paper results in an increase in water consumption. Mitigation Plans and drawings must rather be communicated electronically prior to finalisation of the design plans/ drawings in order to ensure all details are correct prior to printing, this will ensure that no re-prints are required and will save paper. Any waste paper should be recycled. | Low (32) | Negligible (16) |
|  | Loss of Habitat/ Biodiversity Materials used in the planning and design phase, especially paper used for the printing of drawings and design plans might be used wastefully, resulting in an increased volume of waste going to landfill, thereby increasing the area of land needed for landfill space. Natural resources used for the development could result in loss of habitats (e.g. mining for minerals). Mitigation Plans and drawings must rather be communicated electronically prior to finalisation of the design plans/ drawings in order to ensure all details are correct prior to printing, this will ensure that no re-prints are required and will save paper. All waste paper should be recycled. Identify environmentally friendly technologies, processes and materials in the design of the development. | Moderate (40) | Low (20) |
|  | Global Warming Means of travel for meetings results in carbon emissions, thus contributing towards global warming. Mitigation Travel for meetings should be limited as far as possible. Communication via telephone and email should be encouraged over physical meetings. | Low (36) | Negligible (18) |
|  | Job Creation (Positive Impact) The development has the potential to provide new job opportunities and this opportunity should be maximised as far as possible. Mitigation Identify and employ local contractors, suppliers and services as far as reasonably possible. Ensure that employees are recruited from the local communities as far as possible. | Negligible (16) (Positive) | Moderate (48) (Positive) |
| Construction Phase |
|  | Direct impacts: |
|  | Loss of Flora Biodiversity & Habitat Destruction or Modification This impact is rated as low to negligible due to degraded/ modified state of the natural environment. Three vegetation units were identified on the site by the specialist: Cultivated land with zero sensitivity and only a few pioneer grasses and exotic weeds; Degraded grassland with a low sensitivity; and The artificial stormwater canals representing degraded areas with a medium to low sensitivity with limited ecosystem and hydrological functionalities. This impact assesses the impact on flora species on site as a result of a loss of biodiversity and habitat through clearing of natural vegetation for the site and servitudes. This impact will be less than the alternative layout design, as a 5 meter buffer zone has been incorporated into the preferred alternative’s layout design. Mitigation An important aspect relating to the proposed development should be to protect and manage the biodiversity (structure and species composition) of the Central Sandy Bushveld vegetation type which are represented in the project area. The following general management measures and guidelines should be implemented: All development activities should be restricted to specific recommended areas and should be approved by the ECO. Ensure that the 5 meter buffer zone between the development footprint and the artificial temporary wetland is clearly demarcated. The few taller than 3m indigenous trees along the proposed underground power cable servitude provide resting/perching sites for larger birds like vultures, birds of prey, arboreal reptiles and mammals that might occur/pass through the area and should preferably be preserved. These larger trees should be protected as far as possible and be incorporated as part of the landscaping of future development in the area. Construction vehicles and plant must not be allowed to operate outside of the site boundary and designated access routes. Construction vehicles must be restricted to using existing roads and access routes as far as practically possible in order to reduce the impact on natural vegetation. The collection of firewood or plants for medicinal purposes is prohibited, unless they have specifically been earmarked for removal for construction purposes. Training must be given to all employees of contractors, sub-contractors and service providers who will be operating on site in order to ensure that all employees know their roles and responsibilities in managing the environmental impact. A rehabilitation plan should be developed and implemented based on the EMPr requirements as part of the solar plant developments which should be approved by the ECO. Rehabilitate and re-vegetate disturbed areas as quickly as possible to reduce the area where invasive species would be at a strong advantage and most easily able to establish. Institute an alien invasive species eradication/control programme for early intervention if such species are detected, so that their spread to surrounding natural ecosystems can be prevented. | Low (36) | Negligible (18) |
|  | Loss of Fauna Biodiversity & Habitat Negative impact on fauna species on site as a result of irresponsible behaviour of individuals such as poaching and fires. Mitigation The construction footprint and laydown must be clearly demarcated prior to the commencement of de-bushing in order to avoid unnecessary damage to vegetation. Maintain proper firebreaks around entire development footprint. Educate construction workers regarding risks and correct disposal of cigarettes. The few taller than 3m indigenous trees along the proposed underground power cable servitude provide resting/perching sites for larger birds like vultures, birds of prey, arboreal reptiles and mammals that might occur/pass through the area and should preferably be preserved. These larger trees should be protected as far as possible and be incorporated as part of the landscaping of future development in the area. Limit pesticide use to non-persistent, immobile pesticides and apply in accordance with label and application permit directions and stipulations for terrestrial and aquatic applications. Construction vehicles and plant must not be allowed to operate outside of the site boundary and designated access routes. Construction vehicles must be restricted to using existing roads and access routes as far as practically possible in order to reduce the impact on natural vegetation and possible disturbances to fauna. Any animal species found on the site must be relocated to an area of safety and released into natural habitat. No animals may be injured or killed purposefully or through negligence. No animals may be trapped or kept as pets. Hunting of animals is prohibited. Should any sensitive faunal species be observed which might be impacted on the ECO must be informed immediately in order to deal with it timeously. Training must be given to all employees of contractors, sub-contractors and service providers who will be operating on site in order to ensure that all employees know their roles and responsibilities in managing the environmental impact. | Moderate (52) | Low (26) |
|  | Loss of Avifaunal Biodiversity There are no overhead power lines included in the preferred layout design alternative as the underground power cable will be installed in a conduit underground, and therefore the impact rating is less than for the alternative layout design. There will still however be a limited impact on avifauna. Mitigation The protection of different habitat types in the area will be important to ensure the survival of the different birds due to each species’ individual needs and requirements. Sufficient natural corridor sections should be protected around the proposed development footprints to allow avifauna to move freely between the different microhabitats in the study area. The few taller (>3m) indigenous trees within this area also provide resting/perching sites for larger birds like vultures and birds of prey might occur/pass through the area and, other than the proposed footprint area for the development, should preferably be preserved. These larger trees should be protected as far as possible and be incorporated into the proposed energy development. A monitoring programme needs to be implemented by a specialist if any rare species are confirmed on the property as recommended in the ecological specialist report. The clearing and damage of plant growth should be restricted to the site footprint. Clearly demarcate the entire development footprint prior to initial site establishment and prevent construction personnel from leaving the demarcated area. Monitoring should be implemented during the construction phase of the PV Power Plant to ensure that minimal impact is caused to the fauna of the area. Landscape management at the site needs to consider different objectives, including Maintaining pre-existing land uses; Conserving and restoring natural habitats; Managing land for priority species; Hunting of birdlife should be prohibited on site. Facilitating post-construction monitoring. For best results, vegetation management should be carefully planned in advance, and recorded within the project’s Environmental Management Programme. | Low (24) | Negligible (12) |
|  | Impact on Avifauna Movements Disturbance through human activities, noise and fires Construction and maintenance activities impact on birds through disturbance, particularly during breeding activities. An increase in human activity on the site and surrounding areas is anticipated, especially during the construction phase of the underground power cable. Birds will move out of the area during construction activities as a result of noise disturbance. The presence of construction workers or regular workers during the construction phase on site over a protracted period will result in a greatly increased risk of uncontrolled fires which might cause loss of bird diversity when ground-living birds are killed in the fires or their nests destroyed. Mitigation Care should always be taken to disturb the receiving environment as little as possible. Careful control of construction workers movements must be maintained at all times. Staff that will stay on site should be accommodated in one location of the site to ensure that the impact will be minimal on the larger area. Construction activities must remain within defined construction areas and the road servitudes. No construction / disturbance will occur outside these areas. Construction activities must be restricted to working hours Monday to Saturday, unless otherwise approved by the appropriate competent person in consultation with the affected residents. Educate workers regarding the occurrence of important resources in the area and the importance of protection. Instruct employees, contractors, and site visitors to avoid harassment and disturbance of wildlife, especially during reproductive (e.g. courtship, nesting) seasons. In addition, control pets to avoid harassment and disturbance of wildlife. Camp fires at the construction laydown area must be strictly controlled to ensure that no veld fires are caused. Noise levels will be kept within acceptable limits by limiting of speed of haulage vehicles/tippers. Compliance with appropriate noise legislation must take place. | Moderate (55) | Low (35) |
|  | Loss of Biodiversity & Natural Habitat Potential negative impact on fauna and flora species as a result of poor waste management. Mitigation Waste must be placed in waste bins as soon as waste is generated on the site. No littering or uncontained waste will be allowed on site. Hazardous waste such as waste contaminated with hazardous chemical substances and broken PV solar panels must be placed in bins specifically provided for hazardous waste only. Toilets must be provided on site at a ratio of no less than 1 per 15 persons. General waste must be disposed of at a licensed waste landfill facility. Hazardous waste must be disposed of at a licensed hazardous waste disposal site. Sewage must be disposed of at a licensed waste water treatment facility, and a letter stating that sewage from the site or sewage collected by the toilet servicing company may be and is being disposed of at the facility. Should chemical toilets be used on site they must be emptied regularly to ensure that toilets do not over flow. Safe disposal certificates must be obtained for all waste streams and must be kept on file on site as proof of proper disposal (in accordance with the National Environmental Management Waste Act (Act 36 of 1998). | Moderate (40) | Negligible (10) |
|  | Habitat Fragmentation (including avifauna habitat) The development will have a relatively small impact on the natural movement patterns and fragmentation especially on avifauna habitats. Such impacts would however be temporary in the solar plant site. Mitigation Use existing facilities (e.g., access roads) to the extent possible to minimize the amount of new disturbance. Ensure protection of important resources by establishing protective buffers to exclude unintentional disturbance. All possible efforts must be made to ensure as little disturbance as possible to sensitive bird habitats (trees and the temporary artificial wetland areas such along the drainage line north of the site) during construction. During construction, sensitive habitats such as drainage lines and other water courses must be avoided by construction vehicles and equipment, wherever possible, in order to reduce potential impacts. Only necessary damage must be caused and, for example, unnecessary driving around in the veld or bulldozing natural habitat must not take place. Construction activities must remain within defined construction areas and the road servitudes. No construction / disturbance will occur outside these areas. | Low (26) | Negligible (18) |
|  | Spread and Establishment of Alien Invasive Species Potential negative impact on fauna and flora species as a result of lack of control of weeds and alien invasive vegetation. Mitigation Weeds and alien vegetation must not be allowed to propagate on the site. Weeds and alien invasive vegetation must be eradicated prior to the plants coming into flower, in order to prevent them from spreading over the site and invading/ taking over the surrounding natural vegetation in the area. All Category 1 declared weeds, as well as other species which can invade natural vegetation, must be removed on an on-going basis. The contractor must liaise with the ECO for further guidance in this regard. Institute a monitoring and eradication/control programme for early intervention if invasive species are detected, so that their spread to surrounding natural ecosystems can be prevented. Rehabilitate and re-vegetate disturbed areas as quickly as possible to reduce the area where invasive species would be at a strong advantage and most easily able to establish. | High (70) | Low (28) |
|  | Loss of and Damage To Topsoil Potential impact on soil as a result of vegetation clearance and poor waste management. Potential impact on topsoil as a result of poor stockpiling and management. Loss of topsoil as a result of erosion. Disturbance of soils (Soil compaction, erosion and crusting). Sterilisation of soil (soil stripping). Soil contamination due to fuel or oil spillages from vehicles during the construction phase of the solar plant. Loss of current and potential agricultural land. Mitigation Vegetation clearance must be kept to a minimum in order to minimise erosion during rainy periods. Soil should be handled when dry during removal and placement to reduce the risk of compaction. Maintain topsoil stockpiles in a weed free condition. Topsoil should not be compacted in any way, nor should any object be placed or stockpiled upon it. Stockpile topsoil for the minimum time period possible i.e. strip just before the relevant activity commences and replace as soon as it is completed. Topsoil shall be stockpiled outside of drainage lines or storm water trenches and stockpiles shall not exceed 2.0 meters in height. Topsoil and subsoil must be stockpiled separately. Topsoil stockpiles must be protected from water and wind erosion through adequate mitigation measures such as vegetation cover, berms or silt traps to trap sediment run-off, and watering during periods of high winds, etc. Avoid stripping of topsoil and subsoil during periods of high wind. Rehabilitate plant cover as a continual process, to maximize viability of the natural seedbank and reduce loss of topsoil during storage so as to prevent dust and loss of topsoil. Monitor rehabilitation success by comparing data from the servitude with that of surrounding habitats. No waste shall be permanently stored or buried on site. Storm water must be managed in order to prevent erosion. The main objective of the development in terms of the hydrological regime of stormwater should be to control stormwater on site. An engineer should address this in a detailed stormwater management plan. A small buffer of 5 meters should be implemented to ensure the integrity of the stormwater canal is kept intact. Effluent discharge and oil and fuel spillages must be cleaned up immediately along with the necessary remediation actions. A storm water management plan should be developed and implemented in order to ensure effective storm water management and erosion control. Exposed soil surfaces should be protected, especially on sloped gradients. G5 Material can be spread over the ground, especially in the site camp. No storm water shall flow through waste storage areas. Diversion berms should be constructed in order to divert any storm water away from cement mixing areas, waste storage areas and workshops where applicable and also to contain any contaminated water associated with these areas. Disturbed areas must be rehabilitated as soon as possible in order to prevent erosion and loss of topsoil. In the event of erosion occurring, the contractor must commence with remedial action as soon as possible. Have both temporary (during construction) and permanent erosion control plans. Temporary control plans should include: 1. Short term seeding or mulching of exposed soil areas (particularly on slopes); 2. Limitations on access for heavy machinery and the storage of materials to avoid soil compaction. Permanent erosion control plans should focus on the establishment of stable native vegetation communities. | Moderate (52) | Low (26) |
|  | Soil Pollution Possible contamination of soil during the construction phase, due to inadequate storage and handling of hazardous substances. Mitigation Hazardous chemical substances must be kept either in a bunded area or inside drip trays during both storage and when being used on site so as to prevent soil contamination should the container be knocked over or be leaking. Drip trays or bunded areas must be designed to contain 110% of the total volume of chemicals to be stored in the bunded area/ drip tray. Chemical storage areas must have a roof constructed over it, wherever possible, in order to prevent rain water ingress which would result in unnecessary contaminated waste water requiring disposal. Smaller spillages within the drip tray must be cleaned up immediately when they occur, utilising the emergency spill kit. Drip trays must be used when taking chemical containers out of the storage area to be used on site. Drip trays must be used when re-fuelling and under plant and machinery that are known to be leaking oil. Drip trays are to be used when doing any maintenance work on vehicles or plant and equipment. Drip trays should be emptied into a holding tank and returned to the supplier or disposed of as hazardous waste. Servicing of plant should take place off site at a proper workshop with an impermeable concrete floor. Spill kits should be on-hand to deal with spills immediately. Construction workers responsible for refuelling must be trained on the handling of spill kits. An emergency response plan to address spillages should be developed, implemented and communicated to all staff. All construction vehicles should be inspected for oil and fuel leaks regularly and frequently. Should maintenance or emergency repairs of plant and vehicles need to be done on site then drip trays must be used to trap and contain any hydrocarbon spillages. Contaminated materials and waste must be disposed of at a registered hazardous waste disposal site and records of waste safe disposal certificates must be kept. Regular site inspections to be conducted in order to identify areas of concern with regards to surface and ground water related impacts. Such incidents must be reported to the ECO and attended to as soon as possible. Hazardous substances such as paint, cement, fuels or detergents shall be stored in sealed, lockable containers when not in use. Any spillages occurring must be cleaned up as soon as possible with the use of spill kits and disposed of at a registered waste disposal facility, along with implementation of the necessary remedial actions. Spill remains must be disposed of at a registered hazardous waste disposal site as soon as possible. Refuelling of plant and machinery must take place with the use of a drip tray, in order to avoid any spillages during refuelling. Any significant spills or pollution of ground and surface water resources should be reported to the Department of Water Affairs as soon as possible. | Moderate (44) | Negligible (8) |
|  | Impact on Surface Water Quality Improper waste disposal and lack of waste management controls may result in surface water pollution. Mitigation Ablution facilities may not be situated closer than 100m from water courses including drainage lines. All chemicals and hazardous substances must be stored in bunded areas or drip trays outside of 100 meters of any water course or drainage lines. Waste must be placed in waste receptacles immediately upon being generated, and all waste must be disposed of at a licensed waste treatment facility according to the waste types. Safe disposal certificates must be obtained from the relevant services providers for all waste removed on site, including but not limited to sewerage, general and hazardous waste. | Negligible (18) | Negligible (9) |
|  | Impact on Ground Water Quality Improper waste disposal and lack of waste management controls may result in ground water pollution. Mitigation Sufficient ablution facilities shall be provided. 1 portable toilet for every 15 employees will be available on site. A contractor shall be appointed to empty temporary ablution facilities on a regular basis in order to avoid spillages. Should portable toilets be used on site the sewage must be disposed of at a licensed waste water treatment facility (sewage works), and a letter stating that sewage from the site may be and is being disposed of at the facility must be obtained and kept on site. SDC’s must be obtained and kept on file on site as proof of proper disposal. | Negligible (18) | Negligible (9) |
|  | Impact on Surface Water Quantity Depleting water reserves and reducing the quantity of water available for downstream users. Mitigation Abstraction of water for construction and operational activities may only take place from approved sources. All water uses on site must comply with the provisions of the National Water Act (Act 36 of 1998). | Moderate (48) | Negligible (16) |
|  | Pollution due to Waste Poor waste management might have a negative impact on surrounding water resources, ecological resources and soil. Mitigation A sufficient number of waste bins and skips shall be provided on site in order to manage waste effectively. These bins and skips shall be placed in strategic points around the site. Waste separation shall be implemented according to the different types of waste generated. General waste and hazardous waste must not be mixed together. Waste to be removed from site regularly and disposed of at a registered waste disposal site. Safe waste disposal certificates must be obtained and kept on record. Broken PV panels are hazardous and must be disposed of as hazardous waste at a registered hazardous waste disposal site. Burning of waste on site is prohibited. Littering is prohibited. An integrated waste management approach must be implemented on site meaning that waste must be reduced, recycled and re-used as far as practically possible. Waste management must be monitored on a daily basis. | Moderate (52) | Negligible (13) |
|  | Visual Impact Visual Impact to surrounding areas as a result of construction Mitigation Keep disturbed areas to a minimum. No clearing of land to take place outside the demarcated footprint. Only indigenous plant species to be introduced and planted in an organic manner and location which would not cast shadows on the PV panels. Utilise existing roads and tracks to the extent possible. | Negligible (18) | Negligible (9) |
|  | Impact on Sense of Place Mitigation Keep disturbed areas to a minimum. No clearing of land to take place outside the demarcated footprint. Only indigenous plant species to be introduced and planted in an organic manner and location which would not cast shadows on the PV ‘strings’. Buildings and similar structures must be in keeping with regional planning policy documents, especially the principles of critical regionalism, namely sense of place, sense of history, sense of nature, sense of craft and sense of limits. Utilise existing roads and tracks as far as possible. | Low (36) | Negligible (18) |
|  | Visual Impact of Lighting Lighting installed for security or night operations may impact on the surrounding areas. Mitigation Outdoor lighting must be strictly controlled so as to prevent light pollution. All lighting must be installed at downward angles. Sources of light must as far as possible be shielded by physical barriers. Consider the application of motion detectors to allow the application of lighting only where and when it is required. Only minimum wattage light fixtures must be used. | Low (24) | Negligible (14) |
|  | Visual Impact of Reflection and Glare The Solar panels may create a reflection or a glare, although no neighbours will be affected due to the location consideration during pre-construction activities. Mitigation Install all steel structures and columns at right angles to the sun. Prevent the use of reflective steel columns and structures in the designs. The steel components within the substation should not be painted but be galvanised and allowed to oxidise naturally over time. The grey colour produced in this process will help to reduce the visual impact. | Low (24) | Negligible (8) |
|  | Noise Potential noise impact associated with the noise generated during the construction phase. Mitigation Construction activities must be restricted to between 7h00 and 17h00. All activities on site, as well as construction vehicles and machinery must comply with National Noise Legislation, Provincial Noise Regulations and Local Noise By-laws. Appropriate silencing measures must be taken should noise levels exceed 85 decibels at the perimeter of the construction area. Playing of loud music on site will not be permitted. | Moderate (44) | Low (28) |
|  | Archaeological Loss / Loss of Heritage Resources Possible loss of heritage sites or artefacts of archaeological importance. An Archaeological impact assessment was done, and it was found that no heritage resources occur on the site, and the desktop study also found that heritage or paleontological resources were very unlikely to occur in the region. However, heritage resources such as graves may still be found once excavations of earthworks commence and mitigation measures must therefore be implemented should there be any findings. Mitigation Should any archaeological artefacts or remains be exposed during excavation, work shall cease immediately and the Environmental Control Officer shall be notified and this must also be reported to the Provincial Heritage Authority and specialist. A qualified archaeologist must verify the importance of the remains before construction activities continues and decide on the way forward. No archaeological artefacts shall be disturbed or removed from site prior to the necessary consultation with the regulatory authorities and permits required. Contractors should be briefed on the nature of possible heritage remains in the area prior to the commencement of construction activities. Construction activities should be in line with the provisions of the National Heritage Resources Act (Act 25 of 1999). | Low (26) | Negligible (13) |
|  | Traffic Traffic impact will be low to negligible as construction plant and vehicles will not be travelling on public roads, apart from delivering and collecting plant and equipment before and after construction which is not expected to significantly affect traffic flow. Mitigation Construction and delivery vehicles must avoid moving around during periods of peak traffic as far as possible. Contractors and construction personnel must adhere to traffic rules at all times, including prescribed speeding limits. Access and entry points must be situated strategically in order to have a minimal impact on existing traffic volumes. Construction vehicles must make use of existing access roads as far as possible. All vehicles shall be roadworthy. Repair damage to construction access roads within 24 hours of its identification; and Access and haul roads shall be clearly demarcated and vehicle movement confined to the demarcated areas only. Large trucks or delivery vehicles with heavy loads should travel outside of peak traffic times. | Low (36) | Negligible (12) |
|  | Air Quality Construction activities might increase the levels of ambient dust to the surrounding areas during the construction phase. However it is anticipated that this will only be temporary. Mitigation Implement standard dust control measures, including periodic spraying (frequency will depend on many factors including weather conditions, soil composition and traffic intensity and must thus be adapted on an on-going basis) of construction areas and access roads, and ensure that these are continuously monitored to ensure effective implementation. No water may be sourced from a watercourse for dust suppression or any other construction activities without the required approval. A speed limit (preferably 40 km/hour) should be enforced on dirt roads. Activities on site must be in line with the provisions of the National Environmental Management Air Quality Act (Act No. 39 of 2004). No open fires will be allowed on site and burning of waste is prohibited. Disturbed areas must be rehabilitated as fast as possible in order to reduce dust from exposed soil surfaces. Complaints received from interested and affected parties must be logged in the I&AP register and attended to appropriately and as soon as possible. Control of waste to minimize odour’s and gasses. Control of hazardous substances to minimize gasses and odours. | Moderate (44) | Negligible (14) |
|  | Safety, Security and Fire Hazards Construction personnel on site may contribute to an increase in the risk for fires and crime in the area. The influx of construction personnel during the construction period might have an impact on the general safety in the areas, however due to the extent of the planned project it is not anticipated that there will be a significant impact, as the amount of construction personnel will be minimal. Open trenches or excavations might have an impact on safety during the construction phase. Mitigation Construction personnel will not be allowed to sleep over on the site, unless it is agreed upon and communicated to the surrounding land owners. No open fires will be allowed on site. Activities on site shall be according to the provisions of the Occupational Health and Safety Act, 1993 (Act No.85 of 1993) and the National Building Regulations. Warning and demarcation signs must be used in order to prevent pedestrians from entering the construction site, open trenches, laydown areas etc. Access control should be enforced should it be deemed necessary. Construction vehicles should be under the control of competent, trained and experienced personnel. The relevant emergency and contact numbers to be visible on site in case of an emergency situation. Regular site inspections to be conducted in order to identify areas of concern with regards to safety and fire hazards. Open man holes, open excavations and trenches shall either be closed or demarcated with the necessary warning signs. | Moderate (48) | Negligible (12) |
|  | Loss of Agricultural Land The proposed site is located on land used, until recently, for agricultural activities and there will be a loss of agricultural land, the impact can therefore not be prevented, only reduced. The preferred alternative will use less agricultural land than the alternative layout and therefore the impact will be less. Mitigation The solar farm will be an offset to improve the power generation capacity of the farm which will be used to increase economically viable crop production. Corridors should be secured around the solar development footprint areas to ensure the current land use (crop production) can continue in a functional way. All development activities should be restricted to specific recommended areas and strict buffer zones should be applied around the sensitive areas such as water courses and drainage lines. The Environmental Control Officer (ECO) should demarcate and control these areas. Unnecessary bulldozing through the crop fields should be avoided. Storage of road-building equipment, fuel and other materials should be limited to demarcated areas. Layouts should be adapted to fit natural patterns rather than imposing rigid geometries. The site must be clearly demarcated prior to the commencement of construction so as to ensure that no unnecessary disturbances occur to areas outside of the predetermined site footprint. Existing access routes must be utilised as far as possible and any vehicles or plant may only utilise predetermined and approved haul routes | Low (35) | Low (35) |
|  | SOCIO-ECONOMIC Temporary employment opportunities will be created during the construction phase of the project which will have a positive socio-economic impact. Mitigation Locally based contractors and service providers should be utilised for the project in order to encourage local economic growth. Where possible the contractor should involve local communities in order to provide them with training and skills development. Unskilled work must be sourced from the local communities as far as possible. | Negligible (16) (Positive) | Moderate (48) Positive |
|  | Indirect impacts: |
|  | None |  |  |
|  | Cumulative impacts: |
|  | SURFACE AND GROUND WATER POLLUTION Surface water and ground water may become contaminated as a result of sediment laden storm water entering into water resources, or as a result of any chemicals, especially oils entering into these water systems as a result of negligence and lack of planning. This can compound the problem of water pollution in the region. Mitigation A storm water management plan must be developed and implemented and should include erosion control measures. Hazardous chemical substances must be provided with and stored and used with secondary containments such as bunded areas or drip trays at all times so as to contain any leakages or accidental spillages of the HCS and thereby reducing the risk of soil and water pollution. Hazardous chemical substances and ablution facilities may not be stored near any drainage line or close to any body of water and should be tied down to prevent them from falling or being blown over. A spill kit must be available on site. An emergency spill response plan should be developed and communicated to the staff on site. | Moderate (52) | Negligible (13) |
| Operational Phase |
|  | Direct impacts: |
|  | Water Resource Depletion Impact on the quantity of natural water resources as a result of water abstraction. Mitigation Water may only be sourced from permitted sources. | Low (32) | Negligible (16) |
|  | Environmental Degradation Waste which may be generated from the operational phase would mainly consist of broken solar panels. Contamination of soil may occur as a result of poor waste management. Mitigation Waste generated during the operational phase of the activity shall be temporarily stored in a waste receptacle on site until such time that an approved waste handler can collect and dispose of the waste at a registered waste disposal site. | Low (28) | Negligible (14) |
|  | Loss of Biodiversity Fauna on the site might be killed or trapped by individuals for various reasons (fear, pets, negligence etc.). Weeds, alien vegetation and pioneer plant species may propagate in disturbed areas and spread to the surrounding habitat, thereby taking over natural vegetation and altering the habitat. Mitigation No animals may be trapped or killed. Should an animal pose a nuisance the local authorities should be contacted to remove the animal from the site. Weeds and alien vegetation must be controlled, eradication of these species must be undertaken on an on-going basis. | Low (26) | Negligible (14) |
|  | Loss of Habitat The lower vegetation layer underneath the solar panels will have to be cleared (slashed) of excess vegetation at regular intervals in order to allow access to the area for maintenance, to prevent vegetation from intruding into the legally prescribed clearance gap between the ground and the solar panels and power line conductors and to minimize the risk of fire which can result in electrical flashovers. These activities have an impact on birds and other small animals breeding, foraging and roosting in or in close proximity of the servitude through modification of habitat. Mitigation Landscape management at the site needs to consider different objectives, including: Maintaining pre-existing land uses; Conserving and restoring natural habitats; and Managing land for priority species. Hunting of birdlife should be prohibited on site. Facilitating post-construction monitoring. For best results, vegetation management should be carefully planned in advance and recorded within the project’s Environmental Management Plan. | Low (26) | Negligible (14) |
|  | Collisions with Solar Panels Solar installations often feature areas of reflective panelling. Any vertical, reflective surfaces may confuse approaching birds with the result that numbers are disorientated and displaced from the area, or else killed in collisions with such surfaces. Other bird species may seek to benefit from the solar installations, using the erected structures as prominent perches, sheltered roost sites or even nesting or foraging sites. Such scenarios might be associated with fouling of critical components in the solar array, bringing local bird populations into conflict with the facility operators. Mitigation Preconstruction Monitoring needed to determine the presence of Threatened, Rare, Endemic or Range Restricted bird species. Should birds collide with the solar panels, efforts should be made to restrict access by birds into the relevant, hazardous areas of the facility. Land management practices should not attract raptors or other species vulnerable to collision. Structures should be designed to reduce the availability of perching sites. Baseline monitoring could be implemented on the avifauna during the construction and operational phases of the solar plant if required, although due to the low probability of red data species occurring in the area, this would only be considered necessary should any bird mortalities occur after construction has ceased. | Low (22) | Negligible (11) |
|  | Loss of Topsoil Erosion may occur should storm water not be adequately managed. Soils may become compacted. Mitigation Institute a storm water management plan including strategies such as: Minimising impervious area; Increasing infiltration to soil by use of recharge areas; Use of natural vegetated swales instead of pipes or; Installing detention or retention facilities with graduated outlet control structures. Vegetation must be allowed to grow under the solar panels and anywhere where there are exposed soil surfaces; Diversion berms must be implemented where necessary to divert or slow surface water run-off; and Stone pitching should be used in any drainage channels in order to reduce speed of flow. Sensitive soils with high risk of compaction (e.g. clayey soils) must be avoided by vehicles and equipment, wherever possible, in order to reduce potential impacts. Only necessary damage must be caused and, for example, unnecessary driving around in the veld or bulldozing natural habitat must not take place. Have a permanent erosion control plan to focus on the establishment of stable native vegetation communities. | Moderate (52) | Negligible (18) |
|  | Spread and Establishment of Alien Invasive Species Mitigation Develop and implement an alien invasive plant species eradication programme. Ensure that weeds and alien invasive plant species are removed and destroyed on a regular basis, preferably on a monthly basis. | Moderate (52) | Negligible (14) |
|  | Socio-Economic Temporary employment opportunities will be created during the operational phase of the project which will have a positive socio-economic impact. Mitigation Locally based contractors and service providers should be utilised for the project in order to encourage local economic growth. Where possible the contractor should involve local communities in order to provide them with training and skills development. Unskilled work must be sourced from the local communities as far as possible. | Negligible (12) (Positive) | Moderate (40) (Positive) |
|  | Indirect impacts: |
|  | None. |  |  |
|  | Cumulative Impacts: |
|  | Impact on Avifauna Considering the following general mitigation and management actions taken on site during construction, the impact on avifauna populations should be low to negligible. As the preferred layout design alternative will not involve any overhead power lines, the impact on avifauna will be less. Mitigation Where trenches pose a risk to bird safety, they should be adequately cordoned off to prevent ground-living birds falling in and getting trapped and/or injured. This could be prevented by the constant excavating and backfilling of trenches during construction process. No birds may be poached during the construction of the solar plant or power line developments. Many birds are protected by law and poaching or other interference could result in a fine or jail term. Do not feed any birds on site. The occurrence of the vulture species will be influenced by the availability of carcasses and adequate roosting and nesting sites on the property. Poisons for the control of problem animals should rather be avoided since the wrong use thereof can have disastrous consequences for the vulture species as well as other birds of prey occurring in the area. The use of poisons for the control of rats, mice or other vermin should only be used after approval from a Registered Pest Control Officer. Monitoring of the environmental aspects should be done over the longer term to ensure that impacts are limited to a minimum during the constructional and operational phases. Monitoring of specific bird species is necessary to ensure that these species would be unaffected over the longer term by the development. Information on red data species should be provided to construction workers to make them more aware of these fauna and their behaviour. | Low (36) | Negligible (14) |
| Decommissioning Phase |
|  | Direct impacts: |
|  | Soil, Groundwater & Surface Water Contamination Waste generated during the decommissioning phase if not properly disposed of could produce soil ground water or surface water contamination. Mitigation A sufficient number of waste bins and skips shall be provided on site in order to manage waste effectively. These bins and skips shall be placed in strategic points around the site. Waste separation shall be implemented according to the different types of waste generated. This will include building waste (sand, rock, concrete, building rubble, General waste and hazardous waste. etc.), Waste to be removed from site and disposed of at a Licenced waste disposal facility. Safe disposal certificates must be obtained and kept on record. Burning of waste is prohibited. No waste may be buried, nor dumped at unauthorised locations or dump sites. An integrated waste management approach must be implemented on site meaning that waste must be reduced, recycled and re-ued as far as practically possible. Waste management must be monitored on a daily basis. | Moderate (52) | Negligible (13) |
|  | Loss of Biodiversity Following clearance of the site, should the site not be properly rehabilitated, then weeds and alien invasive plants would propagate and spread to surrounding areas, thereby altering plant communities and taking over/ out competing indigenous species. Mitigation Rehabilitation of the site must take place. Rehabilitation of the site must ensure that the site is returned to its original state or better. The site must blend in with the natural surroundings. Rehabilitation progress must be monitored frequently to identify any inadequacies. Any rehabilitation inadequacies must be corrected. Weeds and alien invasive plants must be controlled. | High (65) | Negligible (14) |
|  | Loss of Topsoil/ Erosion Should following decommissioning and removal of structures from the site be completed, exposed soils surfaces will be exposed to erosive forces. Mitigation Storm water must be managed on the site during the decommissioning phase. Natural vegetation which is indigenous to the area must be encouraged to grow on exposed soil surfaces as soon as possible during the decommissioning phase. | Moderate (48) | Negligible (6) |
|  | Socio-Economic: Job Creation & Employment Opportunities During the decommissioning phase, labour from the local community or local contractors and re-cycling companies should be employed during the decommissioning phase. Mitigation Labour from the local community or local contractors and re-cycling companies should be employed during the decommissioning phase. | Negligible (16) (Positive) | High (60) (Positive) |
|  | Indirect impacts: |
|  | None. |  |  |
|  | Cumulative impacts: |
|  | Loss of Biodiversity Increased volumes of waste going to landfill, together with waste from other activities results in the need for more landfill space, and new areas need to be cleared of vegetation for new waste disposal landfill sites. Mitigation As much waste as possible must be recycled and re-used. Steel, solar panels and concrete can all be re-cycled or re-used. | Moderate (56) | Low (20) |
| Alternative 2: Layout Design Alternative |
| Planning and Design Phase |
|  | Direct impacts: |
|  | No direct impacts are anticipated. |  |  |
|  | Indirect impacts: |
|  | No direct impacts are anticipated. |  |  |
|  | Cumulative impacts: |
|  | Water Resource Depletion Water is used to grow trees from which paper is used, therefore wasting paper results in an increase in water consumption. Mitigation Plans and drawings must rather be communicated electronically prior to finalisation of the design plans/ drawings in order to ensure all details are correct prior to printing, this will ensure that no re-prints are required and will save paper. Any waste paper should be recycled. | Low (32) | Negligible (16) |
|  | Loss of Habitat/ Biodiversity Materials used in the planning and design phase, especially paper used for the printing of drawings and design plans might be used wastefully, resulting in an increased volume of waste going to landfill, thereby increasing the area of land needed for landfill space. Natural resources used for the development could result in loss of habitats (e.g. mining for minerals). Mitigation Plans and drawings must rather be communicated electronically prior to finalisation of the design plans/ drawings in order to ensure all details are correct prior to printing, this will ensure that no re-prints are required and will save paper. All waste paper should be recycled. Identify environmentally friendly technologies, processes and materials in the design of the development. | Moderate (40) | Low (20) |
|  | Global Warming Means of travel for meetings results in carbon emissions, thus contributing towards global warming. Mitigation Travel for meetings should be limited as far as possible. Communication via telephone and email should be encouraged over physical meetings. | Low (36) | Negligible (18) |
|  | Job Creation (Positive Impact) The development has the potential to provide new job opportunities and this opportunity should be maximised as far as possible. Mitigation Identify and employ local contractors, suppliers and services as far as reasonably possible. Ensure that employees are recruited from the local communities as far as possible. | Negligible (16) (Positive) | Moderate (48) (Positive) |
| Construction Phase |
|  | Direct impacts: |
|  | Loss of Flora Biodiversity & Habitat Destruction or Modification This impact is rated as low to negligible due to degraded/ modified state of the natural environment. Three vegetation units were identified on the site by the specialist: Cultivated land with zero sensitivity and only a few pioneer grasses and exotic weeds; Degraded grassland with a low sensitivity; The artificial stormwater canals representing degraded areas with a medium to low sensitivity with limited ecosystem and hydrological functionalities. This impact assesses the impact on flora species on site as a result of a loss of biodiversity and habitat through clearing of natural vegetation for the site and servitudes. This impact will be higher for the alternative as this layout design does not include a buffer area between the site footprint and the drainage line (artificial temporary wetland). The rating would also be higher due to the pylons for the overhead power line, one of which will be located in the wetland zone. Mitigation An important aspect relating to the proposed development should be to protect and manage the biodiversity (structure and species composition) of the Central Sandy Bushveld vegetation type which are represented in the project area. The following general management measures and guidelines should be implemented: All development activities should be restricted to specific recommended areas and should be approved by the ECO. Vegetation removal should be kept to a minimum; the construction footprint and laydown areas must be clearly demarcated prior to the commencement of de-bushing in order to avoid unnecessary damage to vegetation. The few taller than 3m indigenous trees along the proposed powerline servitude provide resting/perching sites for larger birds like vultures, birds of prey, arboreal reptiles and mammals that might occur/pass through the area and should preferably be preserved. These larger trees should be protected as far as possible and be incorporated as part of the landscaping of future development in the area. Construction vehicles and plant must not be allowed to operate outside of the site boundary and designated access routes. Construction vehicles must be restricted to using existing roads and access routes as far as practically possible in order to reduce the impact on natural vegetation. The collection of firewood or plants for medicinal purposes is prohibited, unless they have specifically been earmarked for removal for construction purposes. Training must be given to all employees of contractors, sub-contractors and service providers who will be operating on site in order to ensure that all employees know their roles and responsibilities in managing the environmental impact. A rehabilitation plan should be developed and implemented as part of the solar plant and power line developments. | Moderate (52) | Low (26) |
|  | Loss of Fauna Biodiversity & Habitat Negative impact on fauna species on site as a result of a loss of habitat through clearing of natural vegetation for the development and through irresponsible behaviour of individuals. Mitigation The construction footprint and laydown areas must be clearly demarcated prior to the commencement of de-bushing in order to avoid unnecessary damage to vegetation. The few taller than 3m indigenous trees along the proposed powerline servitude provide resting/perching sites for larger birds like vultures, birds of prey, arboreal reptiles and mammals that might occur/pass through the area and should preferably be preserved. These larger trees should be protected as far as possible and be incorporated as part of the landscaping of future development in the area. Limit pesticide use to non-persistent, immobile pesticides and apply in accordance with label and application permit directions and stipulations for terrestrial and aquatic applications. Construction vehicles and plant must not be allowed to operate outside of the site boundary and designated access routes. Construction vehicles must be restricted to using existing roads and access routes as far as practically possible in order to reduce the impact on natural vegetation and possible disturbances to fauna. Any animal species found on the site must be relocated to an area of safety and released into natural habitat. No animals may be injured or killed purposefully or through negligence. No animals may be trapped or kept as pets. Hunting of animals is prohibited. Should any sensitive faunal species be observed which might be impacted on, the ECO must be informed immediately in order to deal with it timeously. Training must be given to all employees of contractors, sub-contractors and service providers who will be operating on site in order to ensure that all employees know their roles and responsibilities in managing the environmental impact. | Moderate (52) | Low (36) |
|  | Loss of Avifaunal Biodiversity Overhead power lines and associated infrastructure such as substations are known to impact significantly on various bird species, both directly through causing mortality of birds, and indirectly through disturbance of birds and destruction of habitats. This impact is rated higher than the preferred alternative due to the overhead power line associated with the alternative layout design plan. Mitigation The taller (>3m) indigenous trees within this area also provide resting/perching sites for larger birds like vultures and birds of prey might occur/pass through the area and, other than the proposed footprint area for the development, should preferably be preserved. These larger trees should be protected as far as possible and be incorporated into the proposed energy development. A monitoring programme needs to be implemented by a specialist if any rare species are confirmed on the property. The removal of vegetation should only occur on the footprint area of the development. The clearing and damage of plant growth in these areas should be restricted to the footprint way leave area. Clearly demarcate the entire development footprint prior to initial site clearance and prevent construction personnel from leaving the demarcated area. Monitoring should be implemented during the construction phase of the PV Power Plant to ensure that minimal impact is caused to the fauna of the area. The impact of power line and specific placement of the poles should be restricted to the proposed line. Construction of the power line close to existing power lines should to a certain extent eliminate the need for new access roads and gates etc. This would reduce the level of disturbance and habitat destruction. In addition, birds in the immediate vicinity of the existing power line would already be relatively tolerant of disturbance as a result of maintenance activities on the already established lines. Landscape management at the site needs to consider different objectives, including Maintaining pre-existing land uses; Conserving and restoring natural habitats; Managing land for priority species; and Hunting of birdlife should be prohibited on site. Facilitating post-construction monitoring. For best results, vegetation management should be carefully planned in advance and recorded within the project’s Environmental Management | Moderate (52) | Low (26) |
|  | Impact on Avifauna Movements Disturbance through human activities, noise and fires: Construction and maintenance activities impact on birds through disturbance, particularly during breeding activities. An increase in human activity on the site and surrounding areas is anticipated, especially during the construction phase of the power line. Birds will move out of the area during construction activities as a result of noise disturbance. The presence of a large number of construction workers or regular workers during the construction phase on site over a protracted period will result in a greatly increased risk of uncontrolled fires which might cause loss of bird diversity when ground-living birds are killed in the fires or their nests destroyed. Mitigation Care should always be taken to disturb the receiving environment as little as possible. Careful control of construction workers movements must be maintained at all times. Staff that will stay on site should be accommodated in one location of the site to ensure that the impact will be minimal on the larger area. Construction activities must remain within defined construction areas as per the layout plan. No construction / disturbance will occur outside these areas. Construction activities must be restricted to working hours Monday to Saturday, unless otherwise approved by the appropriate competent person in consultation with the affected residents. Educate workers regarding the occurrence of important resources in the area and the importance of protection. Instruct employees, contractors, and site visitors to avoid harassment and disturbance of wildlife, especially during reproductive (e.g. courtship, nesting) seasons. In addition, control pets to avoid harassment and disturbance of wildlife. Camp fires at construction sites must be strictly controlled to ensure that no veld fires are caused. Noise levels will be kept within acceptable limits by limiting the speed of vehicles. Compliance with appropriate noise legislation must take place. | Moderate (55) | Low (35) |
|  | Loss of Biodiversity & Natural Habitat Potential negative impact on fauna and flora species as a result of poor waste management. Mitigation Waste must be placed in waste bins as soon as waste is generated on the site. No littering or uncontained waste will be allowed on site. Hazardous waste such as waste contaminated with hazardous chemical substances must be placed in bins specifically provided for hazardous waste only. Toilets must be provided on site at a ratio of no less than 1 per 15 persons. General waste must be disposed of at a licensed waste landfill facility. Hazardous waste must be disposed of at a licensed hazardous waste treatment facility. Sewage must be disposed of at a licensed waste water treatment facility, and a letter stating that sewage from the site or sewage collected by the toilet servicing company may be and is being disposed of at the facility. Should chemical toilets be used on site they must be emptied regularly to ensure that toilets do not overflow. Safe disposal certificates must be obtained for all waste streams and must be kept on file on site as proof of proper disposal (in accordance with the National Environmental Management Waste Act (Act 36 of 1998). | Moderate (40) | Negligible (10) |
|  | Habitat Fragmentation (including avifauna habitat) The development will have a relatively small impact on the natural movement patterns and fragmentation of avifauna habitats. Such impacts would however be temporary in the solar plant site. Mitigation Use existing facilities (e.g., access roads) to the extent possible to minimize the amount of new disturbance. Ensure protection of important resources by establishing protective buffers to exclude unintentional disturbance. All possible efforts must be made to ensure as little disturbance as possible to sensitive bird habitats during construction. During construction, sensitive habitats must be avoided by construction vehicles and equipment, wherever possible, in order to reduce potential impacts. Only necessary damage must be caused and, for example, unnecessary driving around in the veld or bulldozing natural habitat must not take place. Construction activities must remain within defined construction areas and the road servitudes. No construction / disturbance will occur outside these areas. | Low (26) | Negligible (18) |
|  | Spread and Establishment of Alien Invasive Species Potential negative impact on fauna and flora species as a result of lack of control of weeds and alien invasive vegetation. Mitigation Weeds and alien vegetation must not be allowed to propagate on the site. Weeds and alien invasive vegetation must be eradicated prior to the plants coming into flower, in order to prevent them from spreading over the site and invading/ taking over the surrounding natural vegetation in the area. All Category 1 declared weeds, as well as other species which can invade natural vegetation, must be removed on an on-going basis. The contractor must liaise with the ECO for further guidance in this regard. Institute a monitoring and eradication/control programme for early intervention if invasive species are detected, so that their spread to surrounding natural ecosystems can be prevented. Rehabilitate and re-vegetate disturbed areas as quickly as possible to reduce the area where invasive species would be at a strong advantage and most easily able to establish. | High (70) | Low (28) |
|  | Loss of and Damage To Topsoil Potential impact on soil as a result of vegetation clearance and poor waste management. Potential impact on topsoil as a result of poor stockpiling and management. Loss of topsoil as a result of erosion. Disturbance of soils (Soil compaction, erosion and crusting). Sterilisation of soil (soil stripping). Soil contamination due to fuel or oil spillages from vehicles during the construction phase of the solar plant. Loss of current and potential agricultural land. Mitigation Vegetation clearance must be kept to a minimum in order to minimise erosion during rainy periods. Soil should be handled when dry during removal and placement to reduce the risk of compaction. Maintain topsoil stockpiles in a weed free condition. Topsoil should not be compacted in any way, nor should any object be placed or stockpiled upon it. Stockpile topsoil for the minimum time period possible i.e. strip just before the relevant activity commences and replace as soon as it is completed. The project should be divided into as many phases as possible, to ensure that the exposed areas prone to erosion are minimal at any specific time. Topsoil shall be stockpiled outside of drainage lines or storm water trenches and stockpiles shall not exceed 2.0 meters in height. Topsoil and subsoil must be stockpiled separately. Topsoil stockpiles must be protected from water and wind erosion through adequate mitigation measures such as vegetation cover, berms or silt traps to trap sediment run-off, and watering during periods of high winds, etc. Avoid stripping of topsoil and subsoil during periods of high wind. Rehabilitate plant cover as a continual process, to maximize viability of the natural seedbank and reduce loss of topsoil during storage so as to prevent dust and loss of topsoil. Monitor rehabilitation success by comparing data from the servitude with that of surrounding habitats. No waste shall be permanently stored or buried on site. Storm water must be managed in order to prevent erosion. The main objective of the development in terms of the hydrological regime of stormwater should be to control stormwater on site. An engineer should address this in a detailed stormwater management plan. A small buffer of 5 meters should be implemented to ensure the integrity of the stormwater canal is kept intact, refer to the sensitivity map and the layout plan. Oil and fuel spillages must be cleaned up immediately along with the necessary remediation actions. A storm water management plan should be developed and implemented in order to ensure effective storm water management and erosion control. Earthen berms or sand bags, should be used to create a barrier at the upslope side of the site or any exposed embankments or slopes to prevent storm water from flowing down the slopes and thereby preventing erosion. Earthen berms or sand bags or silt fences can also be put in place at the down-slope side of exposed slopes or embankments to trap sediment run-off. Exposed soil surfaces should be protected, especially on sloped gradients. G5 Material can be spread over the ground, especially in the site camp. No storm water shall flow through waste storage areas. Diversion berms should be constructed in order to divert any storm water away from batching areas, waste storage areas and workshops where applicable. Disturbed areas must be rehabilitated as soon as possible in order to prevent erosion and loss of topsoil. In the event of erosion occurring, the contractor must commence with remedial action as soon as possible. During construction, sensitive soils with high risk of compaction (e.g. clayey soils) must be avoided by construction vehicles and equipment, wherever possible, in order to reduce potential impacts. Only necessary damage must be caused and, for example, unnecessary driving around in the veld or bulldozing natural habitat must not take place Have both temporary (during construction) and permanent erosion control plans. Temporary control plans should include: 1. Short term seeding or mulching of exposed soil areas (particularly on slopes); 2. Limitations on access for heavy machinery and the storage of materials to avoid soil compaction. Permanent erosion control plans should focus on the establishment of stable native vegetation communities. | Moderate (52) | Low (26) |
|  | Soil Pollution Possible contamination of soil during the construction phase, due to inadequate storage and handling of hazardous substances. Mitigation Hazardous chemical substances must be kept either in a bunded area or in drip trays during both storage and when being used on site so as to prevent soil contamination should the container be knocked over or be leaking. Drip trays or bunded areas must be designed to contain 110% of the total volume of chemicals to be stored in the bunded area/ drip tray. Chemical storage areas must have a roof constructed over it, wherever possible, in order to prevent rain water ingress which would result in unnecessary contaminated waste water requiring disposal. Smaller spillages within the drip tray must be cleaned up immediately that they occur, utilising the emergency spill kit. Drip trays must be used when taking chemical containers out of the storage area to be used on site. Drip trays must be used when re-fuelling and under plant and machinery that are known to be leaking oil. Drip trays are to be used when doing any maintenance work on vehicles or plant and equipment. Drip trays should be emptied into a holding tank and returned to the supplier or dispos of as hazardous waste. Servicing of plant should take place off site at a proper workshop with an impermeable concrete floor. Spill kits should be on-hand to deal with spills immediately. An emergency response plan to address spillages should be developed, implemented and communicated to all staff All construction vehicles should be inspected for oil and fuel leaks regularly and frequently. Should maintenance or emergency repairs of plant and vehicles need to be done on site then drip trays must be used to trap and contain any hydrocarbon spillages. Contaminated materials and waste must be disposed of at a licensed hazardous waste treatment facility and records of waste safe disposal certificates must be kept. Regular site inspections to be conducted in order to identify areas of concern with regards to surface and ground water related impacts. Such incidents must be reported to the ECO and attended to as soon as possible. | Moderate (44) | Negligible (8) |
|  | Impact on Surface Water Quality Improper waste disposal and lack of waste management controls may result in surface water pollution. The risk for the alternative will be higher than that of the preferred alternative as the alternative layout design has no buffer zone from the artificial wetland. Mitigation Ablution facilities may not be situated closer than 100m from water sources. All chemicals and hazardous substances must be stored in bunded areas or drip trays outside of 100 meters of any water course or drainage lines. Waste must be placed in waste receptacles immediately upon being generated, and all waste must be disposed of at a licensed waste treatment facility according to the waste types. Safe disposal certificates must be obtained from the relevant services providers for all waste removed on site, including but not limited to sewerage, general and hazardous waste. | Low (36) | Negligible (18) |
|  | Impact on Ground Water Quality Improper waste disposal and lack of waste management controls may result in ground water pollution. Mitigation Sufficient ablution facilities shall be provided. 1 portable toilet for every 15 employees will be available on site. A contractor shall be appointed to empty temporary ablution facilities on a regular basis in order to avoid spillages. Should portable toilets be used on site the sewage must be disposed of at a licensed waste water treatment facility (sewage works), and a letter stating that sewage from the site may be and is being disposed of at the facility must be obtained and kept on site. Safe disposal certificates must be obtained and kept on file on site as proof of proper disposal. | Negligible (18) | Negligible (9) |
|  | Impact on Surface Water Quantity Depleting water reserves and reducing the quantity of water available for downstream users. Mitigation Water may only be extracted from approved sources. All water uses on site must comply with the provisions of the National Water Act (Act 36 of 1998). | Moderate (48) | Negligible (16) |
|  | Pollution due to Waste Poor waste management might have a negative impact on surrounding water resources, ecological resources and soil. Mitigation A sufficient number of waste bins and skips shall be provided on site in order to manage waste effectively. These bins and skips shall be placed in strategic points around the site. Waste separation shall be implemented according to the different types of waste generated. This will include building waste (sand, rock, concrete, building rubble etc.), General waste and hazardous waste. Waste to be removed from site regularly and disposed of at a Licenced waste disposal facility. Safe waste disposal certificates must be obtained and kept on record. Burning of waste on site is prohibited. Littering is prohibited. An integrated waste management approach must be implemented on site meaning that waste must be reduced, recycled and re-used as far as practically possible. Waste management must be monitored on a daily basis. | Moderate (52) | Negligible (13) |
|  | Visual Impact Visual Impact to surrounding areas as a result of construction. Mitigation Keep disturbed areas to a minimum. No clearing of land to take place outside the demarcated footprint. Only indigenous plant species to be introduced and planted in an organic manner and location which would not cast shadows on the PV panels. Utilise existing roads and tracks to the extent possible. | Negligible (18) | Negligible (9) |
|  | Impact on Sense of Place The alterative layout would have a greater impact on the sense of place due to the overhead power line. Mitigation Keep disturbed areas to a minimum. No clearing of land to take place outside the demarcated footprint. Only indigenous plant species to be introduced and planted in an organic manner and location which would not cast shadows on the PV ‘strings’. Buildings and similar structures must be in keeping with regional planning policy documents, especially the principles of critical regionalism, namely sense of place, sense of history, sense of nature, sense of craft and sense of limits. Utilise existing roads and tracks as far as possible. | Moderate (52) | Low (26) |
|  | Visual Impact of Lighting Lighting installed for security or night operations may impact on the surrounding areas. Mitigation Outdoor lighting must be strictly controlled so as to prevent light pollution. All lighting must be installed at downward angles. Sources of light must as far as possible be shielded by physical barriers. Consider the application of motion detectors to allow the application of lighting only where and when it is required. Only minimum wattage light fixtures must be used. | Low (24) | Negligible (14) |
|  | Visual Impact of the Power Line The power line would alter the sense of place. Mitigation No mitigation measures possible | Low (32) | Low (32) |
|  | Visual Impact of Reflection and Glare The Solar panels may create a reflection or a glare. Mitigation Install all steel structures and columns at right angles to the sun. Prevent the use of reflective steel columns and structures in the designs. The steel components within the substation should not be painted but be galvanised and allowed to oxidise naturally over time. The grey colour produced in this process will help to reduce the visual impact. | Low (24) | Negligible (8) |
|  | Noise Potential noise impact associated with the noise generated during the construction phase. Mitigation Construction activities must be restricted to between 7h00 and 17h00. All activities on site, as well as construction vehicles and machinery must comply with National Noise Legislation, Provincial Noise Regulations and Local Noise By-laws. Appropriate silencing measures must be taken should noise levels exceed 85 decibels at the perimeter of the construction area. Playing of loud music on site will not be permitted. | Moderate (44) | Low (28) |
|  | Archaeological Loss / Loss of Heritage Resources Possible loss of heritage sites or artefacts of archaeological importance. An Archaeological impact assessment was done, and it was found that no heritage resources occur on the site, and the desktop study also found that heritage or paleontological resources were very unlikely to occur in the region. However, heritage resources such as graves may still be found once excavations of earthworks commence and mitigation measures must therefore be implemented should there be any findings. Mitigation Should any archaeological artefacts or remains be exposed during excavation, work shall cease immediately and the Environmental Control Officer shall be notified and this must also be reported to the Provincial Heritage Authority and specialist. A qualified archaeologist must verify the importance of the remains before construction activities continues and decide on the way forward. No archaeological artefacts shall be disturbed or removed from site prior to the necessary consultation with the regulatory authorities and permits required. Contractors should be briefed on the nature of possible heritage remains in the area prior to the commencement of construction activities. Construction activities should be in line with the provisions of the National Heritage Resources Act (Act 25 of 1999). | Low (26) | Negligible (13) |
|  | Traffic Traffic impact will be negligible as construction plant will not be travelling on public roads, apart from delivery and return of the construction vehicles before and after construction is completed. Mitigation Construction and delivery vehicles must avoid moving around during periods of peak traffic as far as possible. Contractors and construction personnel must adhere to traffic rules at all times, including prescribed speeding limits. Access and entry points must be situated strategically in order to have a minimal impact on existing traffic volumes. Construction vehicles must make use of existing access roads as far as possible. All vehicles shall be roadworthy. Repair damage to construction access roads within 24 hours of its identification; and Access and haul roads shall be clearly demarcated and vehicle movement confined to the demarcated areas only. | Low (36) | Negligible (12) |
|  | Air Quality Construction activities might increase the levels of ambient dust to the surrounding areas during the construction phase. However it is anticipated that this will only be temporary. Mitigation Implement standard dust control measures, including periodic spraying (frequency will depend on many factors including weather conditions, soil composition and traffic intensity and must thus be adapted on an on-going basis) of construction areas and access roads, and ensure that these are continuously monitored to ensure effective implementation. No water may be sourced from a watercourse for dust suppression or any other construction activities without the required approval. A speed limit (preferably 40 km/hour) should be enforced on dirt road. Activities on site must be in line with the provisions of the National Environmental Management Air Quality Act (Act No. 39 of 2004). No open fires will be allowed on site and burning of waste is prohibited. Disturbed areas must be rehabilitated as fast as possible in order to reduce dust from exposed soil surfaces. Complaints received from interested and affected parties must be logged in the I&AP register and attended to appropriately and as soon as possible. Control of waste to minimize odour’s and gasses. Control of hazardous substances to minimize gasses and odours. | Moderate (44) | Negligible (14) |
|  | Safety, Security and Fire Hazards Construction personnel on site may contribute to an increase in the risk for fires and crime in the area. The influx of construction personnel during the construction period might have an impact on the general safety in the areas, however due to the extent of the planned project it is not anticipated that there will be a significant impact, as the amount of construction personnel will be minimal. Open trenches or excavations might have an impact on safety during the construction phase. Mitigation Construction personnel will not be allowed to sleep over on the site, unless it is agreed upon and communicated to the surrounding land owners. No open fires will be allowed on site. Activities on site shall be according to the provisions of the Occupational Health and Safety Act, 1993 (Act No.85 of 1993) and the National Building Regulations. Warning and demarcation signs must be used in order to prevent pedestrians from entering the construction site, open trenches, laydown areas etc. Access control should be enforced should it be deemed necessary. Construction vehicles should be under the control of competent, trained and experienced personnel. The relevant emergency and contact numbers to be visible on site in case of an emergency situation. Regular site inspections to be conducted in order to identify areas of concern with regards to safety and fire hazards. Open man holes, open excavations and trenches shall either be closed or demarcated with the necessary warning signs. | Moderate (48) | Negligible (12) |
|  | Loss of Agricultural Land The proposed site is located on land used, until recently, for agricultural activities and there will be a loss of agricultural land, the impact can therefore not be prevented, only reduced. The preferred alternative will use less agricultural land than the alternative layout design and therefore the impact will be less. Mitigation The solar farm will be an offset to improve the power generation capacity of the farm which will be used to increase economically viable crop production. Corridors should be secured around the solar development footprint areas to ensure the current land use (crop production) can continue in a functional way. All development activities should be restricted to specific recommended areas and strict buffer zones should be applied around the sensitive areas such as water courses and drainage lines. The Environmental Control Officer (ECO) should demarcate and control these areas. Unnecessary bulldozing through the crop fields should be avoided. Storage of road-building equipment, fuel and other materials should be limited to demarcated areas. Layouts should be adapted to fit natural patterns rather than imposing rigid geometries. The site must be clearly demarcated prior to the commencement of construction so as to ensure that no unnecessary disturbances occur to areas outside of the predetermined site footprint. Existing access routes must be utilised as far as possible and any vehicles or plant may only utilise predetermined and approved haul routes | Low (35) | Low (35) |
|  | SOCIO-ECONOMIC (Positive Impact) Temporary employment opportunities will be created during the construction phase of the project which will have a positive socio-economic impact. Mitigation Locally based contractors and service providers should be utilised for the project in order to encourage local economic growth. Where possible the contractor should involve local communities in order to provide them with training and skills development. Unskilled work must be sourced from the local communities as far as possible. | Negligible (16) (Positive) | Moderate (48) (Positive) |
|  | Indirect impacts: |
|  | None |  |  |
|  | Cumulative impacts: |
|  | SURFACE AND GROUND WATER POLLUTION Surface water and ground water may become contaminated as a result of sediment laden storm water entering into water resources, or as a result of any chemicals, especially oils entering into these water systems as a result of negligence and lack of planning. This can compound the problem of water pollution in the region Mitigation A storm water management plan must be developed and implemented and should include erosion control measures. Hazardous chemical substances must be provided with and stored and used with secondary containments such as bunded areas or drip trays at all times so as to contain any leakages or accidental spillages of the HCS and thereby reducing the risk of soil and water pollution. HCS’s and ablution facilities may not be stored near any drainage line or close to any body of water. A spill kit must be available on site. An emergency spill response plan should be developed and communicated to the staff on site. | Moderate (52) | Negligible (13) |
| Operational Phase |
|  | Direct impacts: |
|  | Water Resource Depletion Impact on the quantity of natural water resources as a result of water abstraction. Mitigation Water may only be sourced from permitted sources. | Low (32) | Negligible (16) |
|  | Environmental Degradation Waste which may be generated from the operational phase would mainly consist of broken solar panels. Contamination of soil as a result of poor waste management. Mitigation Waste generated during the operational phase of the activity shall be disposed of as soon as possible at a licensed waste disposal site. | Low (28) | Negligible (14) |
|  | Loss of Biodiversity Fauna on the site might be killed or trapped by individuals for various reasons (fear, pets, negligence etc.) Weeds, alien vegetation and pioneer plant species may propagate in disturbed areas and spread to the surrounding habitat, thereby taking over natural vegetation and altering the habitat. Mitigation No animals may be trapped or killed. Should an animal pose a nuisance the local authorities should be contacted to remove the animal from the site. Weeds and alien vegetation must be controlled, eradication of these species must be undertaken on an on-going basis. | Low (26) | Negligible (14) |
|  | Loss of Habitat The lower vegetation layer underneath the solar panels and the servitudes will have to be cleared (slashed) of excess vegetation at regular intervals in order to allow access to the area for maintenance, to prevent vegetation from intruding into the legally prescribed clearance gap between the ground and the solar panels and power line conductors and to minimize the risk of fire which can result in electrical flashovers. These activities have an impact on birds and other small animals breeding, foraging and roosting in or in close proximity of the servitude through modification of habitat. Mitigation Landscape management at the site needs to consider different objectives, including: Maintaining pre-existing land uses; Conserving and restoring natural habitats; and Managing land for priority species. Hunting of birdlife should be prohibited on site. Facilitating post-construction monitoring. For best results, vegetation management should be carefully planned in advance and recorded within the project’s Environmental Management Plan. | Low (26) | Negligible (14) |
|  | Electrocutions According to the Avifauna Specialist Report, electrocution on the proposed power line is improbable given the adequate clearances and will only apply during the operational phase of the proposed development. The risk rating will be higher for the alternative layout design due to the overhead power line which will be installed. Mitigation Power line structures can present electrocution hazards to birds when less than adequate separation exist between energized conductors or between energized conductors and grounded conductors. Avian-safe facilities can be provided by one or more of the following mitigation measures as stipulated by Prinsen et al. (2011): Increasing separation between abovementioned conductors to achieve adequate separation for the species involved (larger birds, raptors). To mitigate for bird electrocution, distances between electric conductors (or phases) and distances between conductors and grounded hardware should be separated over a larger distance than the wrist-to-wrist or head-to-foot distance of a bird. When the power line is located within the distribution area of large raptors or species such as cranes in the study area, this distance should be increased to 1.4 m (or even 1.8 m in the case of vultures). Because dry feathers provide insulation, the distance between fleshy parts, such as skin, feet or bill, is generally the critical factor to determine if a power line construction is safe for perching birds. Note, however, that wet bird feathers provide less insulation, therefore, in wet climates safe distances between energised parts should be based on wingspan and toe-to-wing tip distances of the largest perching protected species in the area. Applying perch managing techniques such as conspicuous objects and support roosting sites along the power line that would allow large raptors and bustards to safely roost. An “avian-safe” power pole is a configuration designed to minimise bird electrocution risk by providing sufficient separation between energised phase conductors (also-called ‘phases’) and between phases and grounded hardware to accommodate at least the wrist-to-wrist or head-to-foot distance of a bird. Cross-arms, insulators and other parts of the power lines can be constructed so that there is no space for birds to perch where they can be proximate to energised wires. This happens often by exclusion devices, or perch discouragers, but often these cause even more problems than benefits. Because the birds still try to perch on the constructions and the space is even more limited, birds have a higher chance to contact the energised wires. There has been considerable success achieved by providing artificial bird safe perches and nesting platforms which are placed at a safe distance from the energised parts (Bayle, 1999; Goudie, 2006). | Moderate (52) | Low (26) |
|  | Collisions with Power Lines or Solar Panels Solar installations often feature large areas of reflective panelling. Any vertical, reflective surfaces may confuse approaching birds with the result that numbers are disorientated and displaced from the area, or else killed in collisions with such surfaces. Other bird species may seek to benefit from the solar installations, using the erected structures as prominent perches, sheltered roost sites or even nesting or foraging sites. Such scenarios might be associated with fouling of critical components in the solar array, bringing local bird populations into conflict with the facility operators. The risk rating will be higher for the alternative layout design due to the overhead power line which will be installed. Mitigation Preconstruction Monitoring needed to determine the presence of Threatened, Rare, Endemic or Range Restricted bird species. Should birds collide with the solar panels, efforts should be made to restrict access by birds into the relevant, hazardous areas of the facility. Land management practices should not attract raptors or other species vulnerable to collision. Structures should be designed to reduce the availability of perching sites. Ensure that sites are close to existing power lines, so that few new lines are required. The impact of collision of birds is partially mitigated for by placing new infrastructure close to existing lines for the following reasons: The more overhead power lines and other associated infrastructure there are together, the more visible they would be to the birds in the area (Avian Power Line Interaction Committee - 1994). Resident birds in an area become accustomed to a power line that crosses their flight paths, and learn to avoid it during their everyday activities. Hence adding a new connection line adjacent to existing lines would probably have less impact than putting it in a totally new area, where the resident birds are not yet accustomed to overhead power lines. Specialist advice should be sought in devising effective avian deterrents to minimize associated damage. The high risk sections of line should be marked with suitable anti-collision marking devices on the earth wire as per the Eskom guidelines. Since the assumption is that birds collide with overhead cables because they cannot see them, fitting the cables with devices in order to make them more visible to birds in flight has become the preferred mitigation option worldwide. Besides thickening, coating or colouring the often least visible thin ground wires, a wide range of potential ‘line marking’ devices has evolved over the years, including: spheres, swinging plates, spiral vibration dampers, strips, swan flight diverters, Firefly Bird Flight Diverters, bird flappers, aerial marker spheres, ribbons, tapes, flags, fishing floats, aviation balls and crossed bands. The design and technical aspects of using devices on the power line should consider the following: Line markers should be as large as possible, and increase the visible thickness of the line by at least 20 cm, for a length of at least 10-20cm; Spacing of devices should be not more than 5-10 m apart; Line markers should incorporate as much contrast with relevant backgrounds as possible; Colour is probably less important than contrast; Movement of the device is likely to be important; Markers that protrude vertically both above and below the cable are likely important; Since we suspect that many collisions may occur at night, devices that are nocturnally visible (through illumination, ultraviolet radiation and other means) would be advantageous. Although bearing in mind what is known about birds being attracted to illuminated objects; and Line design: Although different bird species fly at different heights above the ground, there is general consensus that the lower power line cables are to the ground, the better for preventing bird collision. There is also consensus that less vertical separation of cables is preferred as it poses less of an ‘obstacle’ for birds to collide with. Horizontal separation of conductors is therefore preferred. | Moderate (44) | Low (22) |
|  | Loss of Topsoil Erosion may occur should storm water not be adequately managed. Mitigation Institute a storm water management plan including strategies such as: Minimising impervious area; Increasing infiltration to soil by use of recharge areas; Use of natural vegetated swales instead of pipes or; Installing detention or retention facilities with graduated outlet control structures. Vegetation must be allowed to grow under the solar panels and anywhere where there are exposed soil surfaces; Diversion berms must be implemented where necessary to divert or slow surface water run-off; and Stone pitching should be used in any drainage channels in order to reduce speed of flow. Sensitive soils with high risk of compaction (e.g. clayey soils) must be avoided by vehicles and equipment, wherever possible, in order to reduce potential impacts. Only necessary damage must be caused and, for example, unnecessary driving around in the veld or bulldozing natural habitat must not take place. Have a permanent erosion control plan to focus on the establishment of stable native vegetation communities. | Moderate (52) | Negligible (18) |
|  | Spread and Establishment of Alien Invasive Species Mitigation Develop and implement an alien invasive plant species eradication programme. Ensure that weeds and alien invasive plant species are removed and destroyed on a regular basis, preferably on a monthly basis. | Moderate (52) | Negligible (14) |
|  | Socio-Economic Temporary employment opportunities will be created during the operational phase of the project which will have a positive socio-economic impact. Mitigation Locally based contractors and service providers should be utilised for the project in order to encourage local economic growth. Where possible the contractor should involve local communities in order to provide them with training and skills development. Unskilled work must be sourced from the local communities as far as possible. | Negligible (12) (Positive) | Moderate (40) (Positive) |
|  | Indirect impacts: |  |  |
|  | None. |  |  |
|  | Cumulative Impacts: |  |  |
|  | Impact on Avifauna The cumulative negative impact of the development on the fauna has the potential to be moderate. However, considering the following general mitigation and management actions taken on site during construction, the impact on avifauna populations should be low. The risk rating will be higher for the alternative layout design due to the overhead power line which will be installed. Mitigation Where trenches pose a risk to bird safety, they should be adequately cordoned off to prevent ground-living birds falling in and getting trapped and/or injured. This could be prevented by the constant excavating and backfilling of trenches during construction process. No birds may be poached during the construction of the solar plant or power line developments. Many birds are protected by law and poaching or other interference could result in a fine or jail term. Do not feed any birds on site. The occurrence of the vulture species will be influenced by the availability of carcasses and adequate roosting and nesting sites on the property. Poisons for the control of problem animals should rather be avoided since the wrong use thereof can have disastrous consequences for the vulture species as well as other birds of prey occurring in the area. The use of poisons for the control of rats, mice or other vermin should only be used after approval from a Registered Pest Control Officer. The habitat and feeding grounds of the water birds would be on the peripheral areas of the wetlands and dams in the area which will be unaffected. Monitoring of the environmental aspects should be done over the longer term to ensure that impacts are limited to a minimum during the constructional and operational phases. Monitoring of specific bird species is necessary to ensure that these species would be unaffected over the longer term by the development. Information on red data species should be provided to construction workers to make them more aware of these fauna and their behaviour. | Moderate (48) | Low (24) |
| Decommissioning Phase |
|  | Direct impacts: |
|  | Soil, Groundwater & Surface Water Contamination Waste generated during the decommissioning phase if not properly disposed of could produce soil ground water or surface water contamination. Mitigation A sufficient number of waste bins and skips shall be provided on site in order to manage waste effectively. These bins and skips shall be placed in strategic points around the site. Waste separation shall be implemented according to the different types of waste generated. This will include building waste (sand, rock, concrete, building rubble etc.), General waste and hazardous waste. Waste to be removed from site and disposed of at a Licenced waste disposal facility. Safe waste disposal certificates must be obtained and kept on record. Burning of waste is prohibited. No waste may be buried, nor dumped at unauthorised locations or dump sites. An integrated waste management approach must be implemented on site meaning that waste must be reduced, recycled and re-used as far as practically possible. Waste management must be monitored on a daily basis. | Moderate (52) | Negligible (13) |
|  | Loss of Biodiversity Following clearance of the site, should the site not be properly rehabilitated, then weeds and alien invasive plants would propagate and spread to surrounding areas, thereby altering plant communities and taking over/ out competing indigenous species. This rating is slightly higher than the preferred alternative layout due to the larger area affected by the pylons for the overhead power lines. Mitigation Rehabilitation of the site must take place. Rehabilitation of the site must ensure that the site is returned to its original state or better. The site must blend in with the natural surroundings. Rehabilitation progress must be monitored frequently to identify any inadequacies. Any rehabilitation inadequacies must be corrected. | High (65) | Low (22) |
|  | Loss of Topsoil/ Erosion Should following decommissioning and removal of structures from the site be completed, exposed soils surfaces will be exposed to erosive forces. This rating will be slightly higher for the alternative due to the associated pylons for the alternative’s overhead power line. Mitigation Storm water must be managed on the site during the decommissioning phase. Natural vegetation which is indigenous to the area must be encouraged to grow on exposed soil surfaces as soon as possible during the decommissioning phase. | Moderate (48) | Low (24) |
|  | Socio-Economic: Job Creation & Employment Opportunities During the decommissioning phase, labour from the local community or local contractors and re-cycling companies can be employed during the decommissioning phase. Mitigation Labour from the local community or local contractors and re-cycling companies can be employed during the decommissioning phase. | Negligible (16) (Positive) | High (60) (Positive) |
|  | Indirect impacts: |
|  | None. |  |  |
|  | Cumulative impacts: |
|  | Loss of Biodiversity Increased volumes of waste going to landfill, together with waste from other activities results in the need for more landfill space, and new areas need to be cleared of vegetation for new waste disposal landfill sites. . Mitigation As much waste as possible must be recycled and re-used. Steel, solar panels and concrete can all be re-cycled or re-used. | Moderate (56) | Low (20) |
| Alternative 3: No-go Option |
|  | Direct impacts: |
|  | Protection of Agricultural Land (Positive Impact) Should the development not go ahead, the land will continue to be used for agricultural purposes. Mitigation Should the proposed activity not go ahead, then the site should continue to be used for agricultural activities. | Negligible (16) (Positive) | Low (32) (Positive) |
|  | Indirect impacts: |
|  | Loss of Jobs (Negative Impact) Due to the energy crisis and load shedding in South Africa the farm may become un-economically viable and a reduction in production may result in the farm closing and therefore farm workers would be retrenched and the farm management would also be unemployed. Mitigation Construct a solar power station to enable the farm to be self-sufficient. Negotiations would need to be made with the electricity supplier in an attempt to reach an agreement to ensure that the farm is not vulnerable to load shedding. | High (64) | Low (32) |
|  | Cumulative impacts: |
|  | Reduction in Food Security (Negative Impact) Power outages result in lower levels of production, less output from the farm would mean less produce making its way to the market. Should the farm close do to power outages this will negatively affect food supply. Mitigation Construct a solar power station to enable the farm to be self-sufficient. Negotiations would need to be made with the electricity supplier in an attempt to reach an agreement to ensure that the farm is not vulnerable to load shedding | Moderate (56) | Low (28) |

A complete impact assessment in terms of Regulation 19(3) of GN 733 must be included as Appendix F.

- Environmental impact statement

Taking the assessment of potential impacts into account, please provide an environmental impact statement that summarises the impact that the proposed activity and its alternatives may have on the environment after the management and mitigation of impacts have been taken into account, with specific reference to types of impact, duration of impacts, likelihood of potential impacts actually occurring and the significance of impacts.

Alternative A (preferred alternative)

Planning & Design Phase: No significant impacts are anticipated for the planning and design phase. 1.1. Direct Impacts: None 1.2. Indirect Impacts: None 1.3. Cumulative Impacts: 4 The following four cumulative impacts are anticipated, although these impacts will be negligible. 1.3.1. Water Resource Depletion Water is used to grow trees from which paper is used, therefore by wasting paper results in an increase in water consumption. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Low (2) Probable (2) Negligible (16) 1.3.2. Loss of Habitat/ Biodiversity Materials used in the planning and design phase, especially paper used for the printing of drawings and design plans might be used wastefully, resulting in an increased volume of waste going to landfill, thereby increasing the area of land needed for landfill space. Natural resources used for the development could result in loss of habitats (e.g. mining for minerals). Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Low (2) Probable (2) Low (20) 1.3.3. Global Warming Means of travel for meetings results in carbon emissions, thus contributing towards global warming. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Low (2) Probable (2) Negligible (18) 1.3.4. Job Creation (Positive Impact) The development has the potential to provide new job opportunities and this opportunity should be maximised as far as possible. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Highly Probable (4) Moderate (48) (Positive) Construction Phase: 2.1. Direct Impacts: 24 2.1.1. LOSS OF FLORA BIODIVERSITY & HABITAT DESTRUCTION OR MODIFICATION This impact is rated as low to negligible due to degraded/ modified state of the natural environment. Three vegetation units were identified on the site by the specialist: Cultivated land with zero sensitivity and only a few pioneer grasses and exotic weeds; Degraded grassland with a low sensitivity; The artificial stormwater canals representing degraded areas with a medium to low sensitivity with limited ecosystem and hydrological functionalities. This impact assesses the impact on flora species on site as a result of a loss of biodiversity and habitat through clearing of natural vegetation for the site and servitudes. This impact will be less than the alternative layout design, as a 5 meter buffer zone has been incorporated into the preferred alternative’s layout design. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Low (2) Probable (2) Negligible (18) 2.1.2. Loss of Fauna Biodiversity & Natural Habitat Negative impact on fauna species on site as a result of a loss of habitat through clearing of natural vegetation for the development and through irresponsible behaviour of individuals such as poaching and fires. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) High (6) Probable (2) Low (26) 2.1.3. Loss of Avifaunal Biodiversity There are no overhead power lines included in the preferred layout design alternative as the underground power cable will be installed in a conduit underground, and therefore the impact rating is less than for the alternative layout design. There will still however be a limited impact on avifauna. Scale Duration Magnitude Probability Significance WM Site (1) Medium term (3) Low (2) Probable (2) Negligible (12) 2.1.4. Impact on Avifauna Movements Disturbance through human activities, noise and fires Construction and maintenance activities impact on birds through disturbance, particularly during breeding activities. An increase in human activity on the site and surrounding areas is anticipated, especially during the construction phase. Birds will move out of the area during construction activities as a result of noise disturbance. The presence of construction workers or regular workers during the construction phase on site over a protracted period will result in a greatly increased risk of uncontrolled fires which might cause loss of bird diversity when ground-living birds are killed in the fires or their nests destroyed. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Definite (5) Low (35) 2.1.5. Loss of Biodiversity & Natural Habitat Potential negative impact on fauna and flora species as a result of poor waste management Scale Duration Magnitude Probability Significance WM Regional (3) Short term (1) Medium (6) Improbable (1) Negligible (10) 2.1.6. Habitat Fragmentation The development will have a relatively small impact on the natural movement patterns and fragmentation especially on avifauna habitats. Such impacts would however be temporary in the solar plant site. Scale Duration Magnitude Probability Significance WM Local (2) Permanent (5) Low (2) Probable (2) Negligible (18) 2.1.7. Spread and Establishment of Alien Invasive Plant Species Potential negative impact on fauna and flora species as a result of lack of control of weeds and alien invasive vegetation. Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Medium (6) Probable (2) Low (28) 2.1.8. Loss of and Damage to Topsoil Potential impact on soil as a result of vegetation clearance and poor waste management. Potential impact on topsoil as a result of poor stockpiling and management. Loss of topsoil as a result of erosion. Disturbance of soils (Soil compaction, erosion and crusting). Sterilisation of soil (soil stripping). Soil contamination due to fuel or oil spillages from vehicles during the construction phase of the solar plant. Loss of current and potential agricultural land. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Medium (6) Probable (2) Low (26) 2.1.9. Soil Pollution Possible contamination of soil during the construction phase, due to inadequate storage and handling of hazardous substances. Scale Duration Magnitude Probability Significance WM Local (1) Short term (1) Medium (6) Improbable (1) Negligible (8) 2.1.10. Impact on Surface Water Quality Improper waste disposal and lack of waste management controls may result in surface water pollution. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Low (2) Improbable (1) Negligible (9) 2.1.11. Impact on Ground Water Quality Improper waste disposal and lack of waste management controls may result in ground water pollution. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Low (2) Improbable (1) Negligible (9) 2.1.12. Impact on Surface Water Quantity Depleting water reserves and reducing the quantity of water available for downstream users. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Low (2) Probable (2) Negligible (16) 2.1.13. Pollution due to Waste Poor waste management might have a negative impact on surrounding water resources, ecological resources and soil. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Medium (6) Improbable (1) Negligible (13) 2.1.14. Visual Impact Visual Impact to surrounding areas as a result of construction. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Low (2) Improbable (1) Negligible (9) 2.1.15. Impact on Sense of Place Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Low (2) Probable (2) Negligible (18) 2.1.16. Visual Impact of lighting Lighting installed for security or night operations may impact on the surrounding areas, with the implementation of the recommended mitigation measures this impact can be significantly reduced. Scale Duration Magnitude Probability Significance WM Local (1) Long term (4) Low (2) Probable (2) Negligible (14) 2.1.17. Visual Impact of Reflection & Glare The Solar panels may create a reflection or a glare. Scale Duration Magnitude Probability Significance WM Site (2) Long term (4) Low (2) Improbable (1) Negligible (8) 2.1.18. Noise Noise will result from construction activities and may cause a nuisance to the surrounding areas or neighbours and residents, however due to the location of the site and the surrounding vegetation this impact is should be very low. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (4) Low (28) 2.1.19. Archaeological Loss / Loss of Heritage Resources An Archaeological impact assessment was done, and it was found that no heritage resources occur on the site, and the desktop study also found that heritage or paleontological resources were very unlikely to occur in the region. However, heritage resources such as graves may still be found once excavations of earthworks commence and mitigation measures must therefore be implemented should there be any findings. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Medium (6) Improbable (1) Negligible (13) 2.1.20. Impact on Traffic Traffic impact will be low to negligible as construction plant and vehicles will not be travelling on public roads, apart from delivering and collecting plant and equipment before and after construction which is not expected to significantly affect traffic flow. Scale Duration Magnitude Probability Significance WM Regional (3) Short term (1) Low (2) Probable (2) Negligible (12) 2.1.21. Air Quality Construction activities might increase the levels of ambient dust to the surrounding areas during the construction phase. However it is anticipated that this will only be temporary Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 2.1.22. Safety, Security and Fire Hazards Construction personnel on site may contribute to an increase in the risk for fires and crime in the area. The influx of construction personnel during the construction period might have an impact on the general safety in the areas, however due to the extent of the planned project it is not anticipated that there will be a significant impact, as the amount of construction personnel will be minimal. Open trenches or excavations might have an impact on safety during the construction phase. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Improbable (1) Negligible (12) 2.1.23. Loss of Agricultural Land As the proposed site is located on land used, until recently, for agricultural activities, there will be a loss of agricultural land, the impact can therefore not be prevented, only reduced. The preferred alternative will use less agricultural land than the alternative layout design and therefore the impact will be less. Scale Duration Magnitude Probability Significance WM Site (2) Long term (4) Low (2) Definite (5) Low (35) 2.1.24. Socio-Economic Temporary employment opportunities will be created during the construction phase of the project which will have a positive socio-economic impact. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Highly Probable (4) Moderate (Positive) (48) 2.2. Indirect Impacts: None Cumulative Impacts: 1 2.3.1 Socio-Economic Surface water and ground water may become contaminated as a result of sediment laden storm water entering into water resources, or as a result of any chemicals, especially oils entering into these water systems as a result of negligence and lack of planning. This can compound the problem of water pollution in the region. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Medium (6) Improbable (1) Negligible (16) Operational Phase: 3.1. Direct Impacts: 9 3.1.1. Water Resource Depletion Impact on the quantity of surface water as a result of water abstraction. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Low (2) Probable (2) Negligible (16) 3.1.2. Environmental Degradation Waste which may be generated from the operational phase would mainly consist of broken solar panels. Contamination of soil as a result of poor waste management and effluent discharge Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Medium (6) Improbable (1) Negligible (14) 3.1.3. Loss of Biodiversity Fauna on the site might be killed or trapped by individuals for various reasons (fear, pets, negligence etc.). Weeds, alien vegetation and pioneer plant species may propagate in disturbed areas and spread to the surrounding habitat, thereby taking over natural vegetation and altering the habitat. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 3.1.4. Loss of Habitat The lower vegetation layer underneath the solar panels will have to be cleared (slashed) of excess vegetation at regular intervals in order to allow access to the area for maintenance, to prevent vegetation from intruding into the legally prescribed clearance gap between the ground and the solar panels to minimize the risk of fire which can result in electrical flashovers. These activities have an impact on birds and other small animals breeding, foraging and roosting in or in close proximity of the site. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 3.1.5. Collisions with Solar Panels Solar installations often feature areas of reflective panelling. Any vertical, reflective surfaces may confuse approaching birds with the result that numbers are disorientated and displaced from the area, or else killed in collisions with such surfaces. Other bird species may seek to benefit from the solar installations, using the erected structures as prominent perches, sheltered roost sites or even nesting or foraging sites. Such scenarios might be associated with fouling of critical components in the solar array, bringing local bird populations into conflict with the facility operators. Scale Duration Magnitude Probability Significance WM Local (1) Long term (4) Medium (6) Improbable (1) Negligible (11) 3.1.6. Loss of Topsoil Erosion may occur should storm water not be adequately managed and soils may become compacted. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Low (2) Probable (2) Negligible (18) 3.1.7. Spread and Establishment of Alien Invasive Plant Species Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 3.1.8. Socio-Economic (Positive Impact) Temporary employment opportunities will be created during the operational phase of the project which will have a positive socio-economic impact. Scale Duration Magnitude Probability Significance WM Regional (3) Short term (1) Medium (6) Highly Probable (4) Moderate (Positive) (40) 3.2. Indirect Impacts: None Cumulative Impacts: 1 3.3.1. Impact on Avifauna The cumulative negative impact of the development on the fauna has the potential to be moderate. However, considering the following general mitigation and management actions taken on site during construction, the impact on avifauna populations should be low. As the preferred layout design alternative will not involve any overhead power lines, the impact on avifauna will be less. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) Decommissioning Phase Direct Impacts: 4 Soil, Ground Water and Surface Water Contamination Waste generated during the decommissioning phase if not properly disposed of could produce soil ground water or surface water contamination. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Medium (6) Improbable (1) Negligible (13) 4.1.2. Loss of Biodiversity Following clearance of the site, should the site not be properly rehabilitated, then weeds and alien invasive plants would propagate and spread to surrounding areas, thereby altering plant communities and taking over/ out competing indigenous species. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 4.1.3. Loss of Topsoil/ Erosion Should following decommissioning and removal of structures from the site be completed, exposed soils surfaces will be exposed to erosive forces. Scale Duration Magnitude Probability Significance WM Local (1) Medium term (3) Low (2) Improbable (1) Negligible (6) 4.1.4. Socio-Economic Job Creation & Employment Opportunities During the decommissioning phase, labour from the local community or local contractors and re-cycling companies can be employed during the decommissioning phase. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Definite (5) High (Positive) (60) Indirect Impacts: None Cumulative Impacts: 1 4.3.1. Loss of Biodiversity Increased volumes of waste going to landfill, together with waste from other activities results in the need for more landfill space, and new areas need to be cleared of vegetation for new waste disposal landfill sites resulting in loss of biodiversity, however should the mitigation measures be implemented, this impact will be low. Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Low (2) Probable (2) Low (20)

Alternative B

Planning & Design Phase: No significant impacts are anticipated for the planning and design phase. 1.1. Direct Impacts: None 1.2. Indirect Impacts: None 1.3. Cumulative Impacts: 4 The following three cumulative impacts are anticipated, although these impacts will be negligible. 1.3.1. Water Resource Depletion Water is used to grow trees from which paper is used, therefore by wasting paper results in an increase in water consumption. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Low (2) Probable (2) Negligible (16) 1.3.2. Loss of Habitat/ Biodiversity Materials used in the planning and design phase, especially paper used for the printing of drawings and design plans might be used wastefully, resulting in an increased volume of waste going to landfill, thereby increasing the area of land needed for landfill space. Natural resources used for the development could result in loss of habitats (e.g. mining for minerals). Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Low (2) Probable (2) Low (20) 1.3.3. Global Warming Means of travel for meetings results in carbon emissions, thus contributing towards global warming. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Low (2) Probable (2) Negligible (18) 1.3.4. Job Creation (Positive Impact) The development has the potential to provide new job opportunities and this opportunity should be maximised as far as possible. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Highly Probable (4) Moderate (48) (Positive) Construction Phase: 2.1. Direct Impacts: 24 2.1.1. Loss Of Flora Biodiversity & Habitat Destruction Or Modification This impact is rated as low to negligible due to degraded/ modified state of the natural environment. Three vegetation units were identified on the site by the specialist: Cultivated land with zero sensitivity and only a few pioneer grasses and exotic weeds; Degraded grassland with a low sensitivity; The artificial stormwater canals representing degraded areas with a medium to low sensitivity with limited ecosystem and hydrological functionalities. This impact assesses the impact on flora species on site as a result of a loss of biodiversity and habitat through clearing of natural vegetation for the site and servitudes. This impact will be higher for the alternative as this layout design does not include a buffer area between the site footprint and the drainage line (artificial temporary wetland). Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Medium (6) Probable (2) Low (26) 2.1.2. Loss of Fauna Biodiversity & Natural Habitat Negative impact on fauna species on site as a result of a loss of habitat through clearing of natural vegetation for the development and through irresponsible behaviour of individuals. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Low (2) Highly Probable (4) Low (36) 2.1.3. Loss of Avifaunal Biodiversity Infrastructure associated with PV solar power plants, such as substations are known to impact significantly on various bird species, both directly through causing mortality of birds, and indirectly through disturbance of birds and destruction of habitats during the construction phase. This impact is rated higher than the preferred alternative due to the overhead power line associated with the alternative layout design. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Medium (6) Probable (2) Low (26) 2.1.4. Impact on Avifauna Movements Disturbance through human activities, noise and fires: construction and maintenance activities impact on birds through disturbance, particularly during breeding activities. An increase in human activity on the site and surrounding areas is anticipated, especially during the construction phase of the power line. Birds will move out of the area during construction activities as a result of noise disturbance. The presence of a large number of construction workers or regular workers during the construction phase on site over a protracted period will result in a greatly increased risk of uncontrolled fires which might cause loss of bird diversity when ground-living birds are killed in the fires or their nests destroyed. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Definite (5) Low (35) 2.1.5. Loss of Biodiversity & Natural Habitat Potential negative impact on fauna and flora species as a result of poor waste management Scale Duration Magnitude Probability Significance WM Regional (3) Short term (1) Medium (6) Improbable (1) Negligible (10) 2.1.6. Habitat Fragmentation The development will have a relatively small impact on the natural movement patterns and fragmentation especially on avifauna habitats. Such impacts would however be temporary in the solar plant site. Scale Duration Magnitude Probability Significance WM Local (2) Permanent (5) Low (2) Probable (2) Negligible (18) 2.1.7. Spread and Establishment of Alien Invasive Plant Species Potential negative impact on fauna and flora species as a result of lack of control of weeds and alien invasive vegetation. Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Medium (6) Probable (2) Low (28) 2.1.8. Loss of and Damage to Topsoil Potential impact on soil as a result of vegetation clearance and poor waste management. Potential impact on topsoil as a result of poor stockpiling and management. Loss of topsoil as a result of erosion. Disturbance of soils (Soil compaction, erosion and crusting); Sterilisation of soil (soil stripping); Soil contamination due to fuel or oil spillages from vehicles during the construction phase of the solar plant; Loss of current and potential agricultural land Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Medium (6) Probable (2) Low (26) 2.1.9. Soil Pollution Possible contamination of soil during the construction phase, due to inadequate storage and handling of hazardous substances. Scale Duration Magnitude Probability Significance WM Local (1) Short term (1) Medium (6) Improbable (1) Negligible (8) 2.1.10. Impact on Surface Water Quality Improper waste disposal and lack of waste management controls may result in surface water pollution. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Low (2) Probable (2) Negligible (18) 2.1.11. Impact on Ground Water Quality Improper waste disposal and lack of waste management controls may result in ground water pollution. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Low (2) Improbable (1) Negligible (9) 2.1.12. Impact on Surface Water Quantity Depleting water reserves and reducing the quantity of water available for downstream users. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Low (2) Probable (2) Negligible (16) 2.1.13. Pollution due to Waste Poor waste management might have a negative impact on surrounding water resources, ecological resources and soil. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Medium (6) Improbable (1) Negligible (13) 2.1.14. Visual Impact Visual Impact to surrounding areas as a result of construction. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Low (2) Improbable (1) Negligible (9) 2.1.15. Impact on Sense of Place This impact is rated higher for the alternative layout design than the preferred alternative layout as the alternative layout includes an overhead power line. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Medium (6) Probable (2) Low (36) 2.1.16. Visual Impact of lighting Lighting installed for security or night operations may impact on the surrounding areas. Scale Duration Magnitude Probability Significance WM Local (1) Long term (4) Low (2) Probable (2) Negligible (14) 2.1.17. Visual Impact of the Power Line The power line would alter the sense of place. Scale Duration Magnitude Probability Significance WM Site (2) Long term (4) Low (2) Probable (2) Low (32) 2.1.18. Visual Impact of Reflection & Glare The Solar panels may create a reflection or a glare. Scale Duration Magnitude Probability Significance WM Site (2) Long term (4) Low (2) Improbable (1) Negligible (8) 2.1.19. Noise Potential noise impact associated with the noise generated during the construction phase. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (4) Low (28) 2.1.20. Archaeological Loss / Loss of Heritage Resources Possible loss of heritage sites or artefacts of archaeological importance. An Archaeological impact assessment was done, and it was found that no heritage resources occur on the site, and the desktop study also found that heritage or paleontological resources were very unlikely to occur in the region. However, heritage resources such as graves may still be found once excavations of earthworks commence and mitigation measures must therefore be implemented should there be any findings. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Medium (6) Probable (2) Negligible (13) 2.1.21. Impact on Traffic Traffic impact will be negligible as construction plant will not be travelling on public roads, apart from delivery and return of the construction vehicles before and after construction is completed. Scale Duration Magnitude Probability Significance WM Regional (3) Short term (1) Low (2) Improbable (1) Negligible (12) 2.1.22. Air Quality Construction activities might increase the levels of ambient dust to the surrounding areas during the construction phase. However it is anticipated that this will only be temporary Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 2.1.23. Safety, Security and Fire Hazards Construction personnel on site may contribute to an increase in the risk for fires and crime in the area. The influx of construction personnel during the construction period might have an impact on the general safety in the areas, however due to the extent of the planned project it is not anticipated that there will be a significant impact, as the amount of construction personnel will be minimal. Open trenches or excavations might have an impact on safety during the construction phase. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Improbable (1) Negligible (12) 2.1.24. Loss of Agricultural Land The proposed site is located on land used, until recently, for agricultural activities and there will be a loss of agricultural land, the impact can therefore not be prevented, only reduced. The preferred alternative will use less agricultural land than the alternative layout design and therefore the impact will be less. Scale Duration Magnitude Probability Significance WM Local (1) Long term (4) Low (2) Definite (5) Low (35) 2.1.25. Socio-Economic Temporary employment opportunities will be created during the construction phase of the project which will have a positive socio-economic impact. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Highly Probable (4) Moderate (Positive) (48) 2.2. Indirect Impacts: None Cumulative Impacts: 1 2.3.1. Surface and Ground Water Pollution Surface water and ground water may become contaminated as a result of sediment laden storm water entering into water resources, or as a result of any chemicals, especially oils entering into these water systems as a result of negligence and lack of planning. This can compound the problem of water pollution in the region Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Medium (6) Improbable (1) Negligible (13) Operational Phase: 3.1. Direct Impacts: 9 3.1.1. Water Resource Depletion Impact on the quantity of surface water as a result of water abstraction. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Low (2) Probable (2) Negligible (16) 3.1.2. Environmental Degradation Waste which may be generated from the operational phase would mainly consist of broken solar panels. Contamination of soil as a result of poor waste management and effluent discharge Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Medium (6) Improbable (1) Negligible (14) 3.1.3. Loss of Biodiversity Fauna on the site might be killed or trapped by individuals for various reasons (fear, pets, negligence etc.). Weeds, alien vegetation and pioneer plant species may propagate in disturbed areas and spread to the surrounding habitat, thereby taking over natural vegetation and altering the habitat. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 3.1.4. Loss of Habitat The lower vegetation layer underneath the solar panels and the servitudes will have to be cleared (slashed) of excess vegetation at regular intervals in order to allow access to the area for maintenance, to prevent vegetation from intruding into the legally prescribed clearance gap between the ground and the solar panels and power line conductors and to minimize the risk of fire which can result in electrical flashovers. These activities have an impact on birds and other small animals breeding, foraging and roosting in or in close proximity of the servitude through modification of habitat. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 3.1.5. Electrocutions The alternative layout design includes overhead power lines which will affect avifauna. According to the Avifauna Specialist Report, electrocution on the proposed power line is improbable given the adequate clearances and will only apply during the operational phase of the proposed development. The risk rating will be higher for the alternative layout design due to the overhead power line which will be installed. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Medium (6) Probable (2) Low (26) 3.1.6. Collisions with Power Lines or Solar Panels Solar installations often feature areas of reflective panelling. Any vertical, reflective surfaces may confuse approaching birds with the result that numbers are disorientated and displaced from the area, or else killed in collisions with such surfaces. Other bird species may seek to benefit from the solar installations, using the erected structures as prominent perches, sheltered roost sites or even nesting or foraging sites. Such scenarios might be associated with fouling of critical components in the solar array, bringing local bird populations into conflict with the facility operators. The risk rating will be higher for the alternative layout design due to the overhead power line which will be installed. Scale Duration Magnitude Probability Significance WM Local (1) Long term (4) Medium (6) Probable (2) Low (22) 3.1.7. Loss of Topsoil Erosion may occur should storm water not be adequately managed and soils may become compacted. Scale Duration Magnitude Probability Significance WM Site (2) Permanent (5) Low (2) Probable (2) Negligible (18) 3.1.8. Spread and Establishment of Alien Invasive Plant Species Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Low (2) Probable (2) Negligible (14) 3.1.9. Socio-Economic (Positive Impact) Temporary employment opportunities will be created during the operational phase of the project which will have a positive socio-economic impact. Scale Duration Magnitude Probability Significance WM Regional (3) Short term (1) Medium (6) Highly Probable (4) Moderate (Positive) (40) 3.2. Indirect Impacts: None Cumulative Impacts: 1 3.3.1. Impact on Avifauna The cumulative negative impact of the development on the fauna has the potential to be moderate. However, considering the following general mitigation and management actions taken on site during construction, the impact on avifauna populations should be low. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Probable (2) Low (24) Decommissioning Phase Direct Impacts: 4 Soil, Ground Water and Surface Water Contamination Waste generated during the decommissioning phase if not properly disposed of could produce soil ground water or surface water contamination. Scale Duration Magnitude Probability Significance WM Regional (3) Long term (4) Medium (6) Improbable (1) Negligible (13) 4.1.2. Loss of Biodiversity Following clearance of the site, should the site not be properly rehabilitated, then weeds and alien invasive plants would propagate and spread to surrounding areas, thereby altering plant communities and taking over/ out competing indigenous species. Scale Duration Magnitude Probability Significance WM Site (2) Medium term (3) Medium (6) Probable (2) Low (22) 4.1.3. Loss of Topsoil/ Erosion Should following decommissioning and removal of structures from the site be completed, exposed soils surfaces will be exposed to erosive forces. Scale Duration Magnitude Probability Significance WM Local (1) Permanent (5) Medium (6) Probable (2) Low (24) 4.1.4. Socio-Economic Job Creation & Employment Opportunities During the decommissioning phase, labour from the local community or local contractors and re-cycling companies can be employed during the decommissioning phase. Scale Duration Magnitude Probability Significance WM Regional (3) Medium term (3) Medium (6) Definite (5) High (Positive) (60) Indirect Impacts: None Cumulative Impacts: 1 4.3.1. Loss of Biodiversity Increased volumes of waste going to landfill, together with waste from other activities results in the need for more landfill space, and new areas need to be cleared of vegetation for new waste disposal landfill sites resulting in loss of biodiversity, however should the mitigation measures be implemented, this impact will be low. Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Low (2) Probable (2) Low (20)

Alternative C

NA

No-go alternative (compulsory)

Direct Impacts: 1 1.1. Protection of Agricultural Land (Positive Impact) Should the development not go ahead, the land will continue to be used for agricultural purposes. Scale Duration Magnitude Probability Significance WM Site (2) Long term (4) Low (2) Highly probable (4) Low (32) Indirect Impacts: 1 2.1. Loss of Jobs/ increased level of unemployment Due to the energy crisis and load shedding in South Africa the farm may become un-economically viable and a reduction in production may result in the farm closing and therefore farm workers would be retrenched and the farm management would also be unemployed. Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) High (8) Probable (1) Low (32) Cumulative Impacts: 1 3.1. Reduced Food Security Power outages result in lower levels of production, less output from the farm would mean less produce making its way to the market. Should the farm close do to power outages this will negatively affect food supply. Scale Duration Magnitude Probability Significance WM Regional (3) Permanent (5) Medium (6) Probable (2) Low (28)

SECTION E.	Recommendation of practitioner

| Is the information contained in this report and the documentation attached hereto sufficient to make a decision in respect of the activity applied for (in the view of the environmental assessment practitioner)? | YES √ | NO |
| --- | --- | --- |

If “NO”, indicate the aspects that should be assessed further as part of a Scoping and EIA process before a decision can be made (list the aspects that require further assessment).

If “YES”, please list any recommended conditions, including mitigation measures that should be considered for inclusion in any authorisation that may be granted by the competent authority in respect of the application.

| The EMPr must be implemented and must be binding in any contracts associated with the development. No intrusion into the artificial wetlands located immediately to the north and east of the site, other than what has been indicated in the layout plan approved by the CA, may be allowed. The 5 meter buffer between the outer fence and the artificial wetland to the north of the site must be maintained at all times. Activities need to stay well clear of the Sclerocarya birrea (Marula tree). |
| --- |
| Is an EMPr attached? | YES √ | NO |

The EMPr must be attached as Appendix G.

The details of the EAP who compiled the BAR and the expertise of the EAP to perform the Basic Assessment process must be included as Appendix H.

If any specialist reports were used during the compilation of this BAR, please attach the declaration of interest for each specialist in Appendix I.

any other information relevant to this application and not previously included must be attached in Appendix J.

__Ruan Mostert___________________________

NAME OF EAP

________________________________________		___02/10/2015___

SIGNATURE OF EAP						DATE

Section F: Appendixes

The following appendixes must be attached:

Appendix A: Maps

Appendix B: Photographs

Appendix C: Facility illustration(s)

Appendix D: Specialist reports (including terms of reference)

Appendix E: Public Participation

Appendix F: Impact Assessment

Appendix G: Environmental Management Programme (EMPr)

Appendix H: Details of EAP and expertise

Appendix I: Specialist’s declaration of interest

Appendix J: Additional Information

# Footnotes

“Alternative A..” refer to activity, process, technology or other alternatives.